## Sheet1
Survey123 Table (sql-gis > hydro) | Survey123 Field Name | Survey123 Alias | Changes to Survey123 Alias | Survey123 Data Type | Aquarius Label in Comments | Note
ConductivityMeasurement | CalibrationStandard | Calibration Standard |  | Long | PARAMETER
ConductivityMeasurement | EditTimestamp |  |  | Date | NOT USED
ConductivityMeasurement | Employee |  |  | Text | NOT USED
ConductivityMeasurement | GlobalID |  |  | Global ID | NOT USED
ConductivityMeasurement | LocationVisitGlobalID | Related Location Visit |  | Guid | NOT USED
ConductivityMeasurement | ManualLevel | Manual Measurement |  | Long | PARAMETER
ConductivityMeasurement | MeasureDate | Measurement Date |  | Date | PARAMETER
ConductivityMeasurement | OBJECTID |  |  | Object ID | NOT USED
ConductivityMeasurement | PrecalibrationLevel | Precalibration Value |  | Long | PARAMETER
ConductivityMeasurement | ReadingType | Reading Type |  | Text | PARAMETER
ConductivityMeasurement | SensorAdjusted | Sensor Adjusted | Sensor Calibrated | Text | Specific Conductance Sensor Failed | Specific Conductance Sensor Failed Verify; seems to flip yes/no values: KEEP OMIT PREFIX "SPECIFIC CONDUCTANCE"
ConductivityMeasurement | SensorAdjustmentAmount | Sensor Adjustment Amount | Calculated Difference | Long | NOT USED
ConductivityMeasurement | SensorAdjustmentComments | Sensor Adjustment Comments | Conductivity Sensor Adjustment Comments | Text | Conductivity Sensor Adjustment Comments | Omit "Conductivity" prefix
ConductivityMeasurement | SensorAdjustmentDate | Sensor Adjustment Date | Calibration Date | Date | PARAMETER | Verify "Date" vs "Timestamp"
ConductivityMeasurement | SensorAdjustmentException | Sensor Adjustment Exception | Conductivity Sensor Adjustment Exception | Text | Conductivity Sensor Adjustment Exception | Omit "Conductivity" prefix
ConductivityMeasurement | SensorLevel | Realtime Sensor Level | Logger Conductivity | Long | Logger Conductivity
ConductivityMeasurement | SerialNumber | Serial Number | Verification Serial Number | Text | PARAMETER
ConductivityMeasurement | VerificationDate | Verification Date |  | Date | PARAMETER
ConductivityMeasurement | VerificationLevel | Verification Sensor Level |  | Long | PARAMETER
ConductivityMeasurement | VerificationStandard | Verification Standard |  | Long | PARAMETER
GroundwaterMeasurement | EditTimestamp |  |  | Date | NOT USED
GroundwaterMeasurement | Employee |  |  | Text | NOT USED
GroundwaterMeasurement | GlobalID |  |  | Global ID | NOT USED
GroundwaterMeasurement | LocationVisitGlobalID | Related Location Visit |  | Guid | NOT USED
GroundwaterMeasurement | ManualLevel | Manual Measurement (feet) |  | Double | PARAMETER
GroundwaterMeasurement | ManualLevelHeld | Steel Tape Held At (feet) |  | Double | Steel Tape Held At (feet)
GroundwaterMeasurement | ManualLevelWet | Steel Tape Wet At (feet) |  | Double | Steel Tape Wet At (feet)
GroundwaterMeasurement | ManualMethod | Manual Measurement Method |  | Text | PARAMETER
GroundwaterMeasurement | ManualMethodComments | Manual Measurement Method Comments |  | Text | Other Method | CHANGE SURVEY123 ALIAS TO MATCH AQUARIUS
GroundwaterMeasurement | MeasureDate | Measurement Date |  | Date | PARAMETER
GroundwaterMeasurement | MeasuringPointGlobalID | Related Measuring Point |  | Guid | NOT USED
GroundwaterMeasurement | OBJECTID |  |  | Object ID | NOT USED
GroundwaterMeasurement | ReadingType | Reading Type |  | Text | PARAMETER
GroundwaterMeasurement | SensorAdjusted | Sensor Adjusted |  | Text | Sensor Adjusted
GroundwaterMeasurement | SensorAdjustmentAmount | Sensor Adjustment Amount | Calculated Difference | Double | Calculated Difference
GroundwaterMeasurement | SensorAdjustmentComments | Sensor Adjustment Comments | GWL Sensor Adjustment Comments | Text | GWL Sensor Adjustment Comments
GroundwaterMeasurement | SensorAdjustmentDate | Sensor Adjustment Date |  | Date | Sensor Adjustment Timestamp | Verify "Date" vs "Timestamp" KEEP DATE
GroundwaterMeasurement | SensorAdjustmentException | Sensor Adjustment Exception | GWL Sensor Adjustment Exception | Text | GWL Sensor Adjustment Exception
GroundwaterMeasurement | SensorLevel | Realtime Sensor Level | Logger GWL | Double | Logger GWL
GroundwaterMeasurement | WaterLevel | Computed Manual Water Level | Calculated Manual Water Level | Double | Calculated Manual Water Level
Location Issue | Comments | Comments |  | Text | Issue Comments | Omit "Issue" prefix
Location Issue | EditTimestamp |  |  | Date | NOT USED
Location Issue | Employee |  |  | Text | NOT USED
Location Issue | GlobalID |  |  | Global ID | NOT USED
Location Issue | LocationVisitGlobalID | Related Location Visit |  | Guid | NOT USED
Location Issue | OBJECTID |  |  | Object ID | NOT USED
Location Issue | Type | Issue Type |  | Text | Issue Type
LocationVisit | ADVMBeamCheckedInitial | ADVM Initial Beam Checked |  | Text | ADVM Initial Beam Checked
LocationVisit | ADVMBeamCheckedSecondary | ADVM Secondary Beam Checked |  | Text | ADVM Secondary Beam Checked
LocationVisit | ADVMBeamCheckInitialComments | ADVM Initial Beam Check Comments |  | Text | ADVM Initial Beam Check Comments
LocationVisit | ADVMBeamCheckInitialException | ADVM Initial Beam Check Exception |  | Text | ADVM Initial Beam Check Exception
LocationVisit | ADVMBeamCheckSecondaryComments | ADVM Secondary Beam Check Comments |  | Text | ADVM Secondary Beam Check Comments
LocationVisit | ADVMBeamCheckSecondaryException | ADVM Secondary Beam Check Exception |  | Text | ADVM Secondary Beam Check Exception
LocationVisit | ADVMCleaned | ADVM Cleaned |  | Text | ADVM Cleaned
LocationVisit | ADVMCleanedComments | ADVM Cleaned Comments |  | Text | ADVM Cleaned Comments
LocationVisit | ADVMCleanedException | ADVM Cleaned Exception |  | Text | ADVM Cleaned Exception
LocationVisit | ADVMDischarge_RecordEnd | ADVM Discharge Record End |  | Date | NOT USED
LocationVisit | ADVMDischarge_RecordStart | ADVM Discharge Record Start |  | Date | NOT USED
LocationVisit | ADVMMaintenance | ADVM Additional Maintenace |  | Text | ADVM Additional Maintenance
LocationVisit | ADVMMaintenanceComments | ADVM Maintenance Comments |  | Text | ADVM Maintenance Comments
LocationVisit | ADVMRecordEnd | ADVM Record End |  | Date | NOT USED
LocationVisit | ADVMRecordStart | ADVM Record Start |  | Date | NOT USED
LocationVisit | BatteryDOA | Battery DOA |  | Text | Battery DOA
LocationVisit | BatteryLevel | Battery Level |  | Double | PARAMETER
LocationVisit | BatteryLevel2 | Battery Level (new battery) |  | Double | PARAMETER
LocationVisit | BatteryNeedsReplacement | Battery Needs Replacement |  | Text | NOT USED
LocationVisit | BatteryReplaced | Battery Replaced (new battery) | Battery Replaced | Text | NOT USED
LocationVisit | BatteryReplacementComments | Battery Replacement Comments |  | Text | Battery Replacement Comments
LocationVisit | BatteryReplacementDate | Battery Replacement Date |  | Date | PARAMETER
LocationVisit | BatteryReplacementException | Battery Replacement Exception |  | Text | Battery Replacement Exception
LocationVisit | DataLoggerRecordEnd | Data Logger Record End |  | Date | NOT USED
LocationVisit | DataLoggerRecordStart | Data Logger Record Start |  | Date | NOT USED
LocationVisit | DataLoggerTime | Data Logger Clock Time |  | Date | NOT USED
LocationVisit | DataLoggerTime2 | Data Logger Clock Time (new battery) |  | Date | NOT USED
LocationVisit | DataLoggerTimeActual | Correct Current Time | Laptop Time | Date | NOT USED
LocationVisit | DataLoggerTimeActual2 | Correct Current Time (new battery) | Laptop Time (new battery) | Date | NOT USED
LocationVisit | DataLoggerTimeAdjAmount | Data Logger Time Adjustment (minutes) | Data Logger Time Difference (minutes) | Long | Data Logger Time Difference (minutes)
LocationVisit | DataLoggerTimeAdjAmount2 | Data Logger Time Adjustment (minutes; new battery) | Data Logger Time Difference (minutes; new battery) | Long | Data Logger Time Difference (minutes; new battery)
LocationVisit | DataLoggerTimeAdjComments | Data Logger Time Adjustment Comments |  | Text | Data Logger Time Adjustment Comments
LocationVisit | DataLoggerTimeAdjComments2 | Data Logger Time Adjustment Comments (new battery) |  | Text | Data Logger Time Adjustment Comments (new battery)
LocationVisit | DataLoggerTimeAdjDate | Data Logger Time Adjustment Date |  | Date | Data Logger Time Adjustment Date
LocationVisit | DataLoggerTimeAdjDate2 | Data Logger Time Adjustment Date (new battery) |  | Date | Data Logger Time Adjustment Date (new battery)
LocationVisit | DataLoggerTimeAdjException | Data Logger Time Adjustment Exception |  | Text | Data Logger Time Adjustment Exception
LocationVisit | DataLoggerTimeAdjException2 | Data Logger Time Adjustment Exception (new battery) |  | Text | Data Logger Time Adjustment Exception (new battery)
LocationVisit | DataLoggerTimeAdjusted | Data Logger Time Adjusted |  | Text | Data Logger Time Adjusted
LocationVisit | DataLoggerTimeAdjusted2 | Data Logger Time Adjusted (new battery) |  | Text | Data Logger Time Adjusted (new battery)
LocationVisit | DesiccantComments | Desiccant Comments |  | Text | Desiccant Comments
LocationVisit | DesiccantEnclosure | Enclosure Desiccant |  | Text | Enclosure Desiccant
LocationVisit | DesiccantSensor | Sensor Desiccant |  | Text | Sensor Desiccant
LocationVisit | DischargeRecordEnd | Discharge Record End |  | Date | NOT USED
LocationVisit | DischargeRecordStart | Discharge Record Start |  | Date | NOT USED
LocationVisit | DischargeUncertainty | Discharge Uncertainty |  | Double | NOT USED
LocationVisit | DischargeVolume | Discharge Volume |  | Double | NOT USED
LocationVisit | EditTimestamp |  |  | Date | NOT USED
LocationVisit | Employee |  |  | Text | NOT USED
LocationVisit | GlobalID |  |  | Global ID | NOT USED
LocationVisit | InventoryVerified | Equipment Inventory Verified | Change to Equipment Needed | Text | Change to Equipment Needed | Verify; seems to flip yes/no values CHANGE COLUMN NAME TO "CHANGES TO EQUIPMENT" ALSO LOOK AT DEFAULT VALUE; SHOULD BE "NO" UPDATE WORKFLOW DIAGRAM TO REVERSE ARROWS / UPDATE DATA SOURCE NEEDS NEW TICKET; INCLUDE SARAH FOR SURVEY123 CONFIG CHANGE
LocationVisit | LocationGlobalID | Related Location |  | Guid | NOT USED
LocationVisit | OBJECTID |  |  | Object ID | NOT USED
LocationVisit | RainfallBucketCleaned | Rainfall Bucket Cleaned |  | Text | Rainfall Bucket Cleaned
LocationVisit | RainfallBucketComments | Rainfall Bucket Comments |  | Text | Rainfall Bucket Comments
LocationVisit | RainfallBucketException | Rainfall Bucket Exception |  | Text | Rainfall Bucket Exception
LocationVisit | RainfallMechanismChecked | Tipping Mechanism Checked |  | Text | Tipping Mechanism Checked
LocationVisit | RainfallMechanismComments | Rainfall Mechanism Comments |  | Text | Rainfall Mechanism Comments | Should we change "Rainfall" to "Tipping"? YES
LocationVisit | RainfallMechanismException | Tipping Mechanism Exception |  | Text | Tipping Mechanism Exception
LocationVisit | Staff | Visit Staff |  | Text | PARAMETER
LocationVisit | StaffComments | Staff Comments | Other Staff | Text | PARAMETER
LocationVisit | VisitDate | Visit Date |  | Date | PARAMETER
LocationVisit | WaterQualityPurgeStart | Water Quality Purge Start |  | Date | Water Quality Purge Start
LocationVisit | WaterQualitySamplingEnd | Water Quality Sampling End |  | Date | Water Quality Sampling End
LocationVisit | WaterQualitySensorPullDate | Water Quality Sensor Pull Date |  | Date | Water Quality Sensor Pull Date
LocationVisit | WaterQualitySensorPulled | Water Quality Sensor Pulled |  | Text | Water Quality Sensor Pulled
LocationVisit | WaterQualitySensorReinstallDate | Water Quality Sensor Reinstall Date |  | Date | Water Quality Sensor Reinstall Date
Rainfall False Tips | EditTimestamp |  |  | Date | NOT USED
Rainfall False Tips | Employee |  |  | Text | NOT USED
Rainfall False Tips | FalseTipCount | False Tip Count (inches) |  | Double | PARAMETER
Rainfall False Tips | FalseTipDate | False Tip Date |  | Date | PARAMETER
Rainfall False Tips | FalseTipRemoved | False Tip Removed |  | Text | False Tip Removed - FalseTipCount | Keep existing geodatabase aliases
Rainfall False Tips | GlobalID |  |  | Global ID | NOT USED
Rainfall False Tips | LocationVisitGlobalID | Related Location Visit |  | Guid | NOT USED
Rainfall False Tips | OBJECTID |  |  | Object ID | NOT USED
Stage Measurement | EditTimestamp |  |  | Date | NOT USED
Stage Measurement | Employee |  |  | Text | NOT USED
Stage Measurement | GlobalID |  |  | Global ID | NOT USED
Stage Measurement | LocationVisitGlobalID | Related Location Visit |  | Guid | NOT USED
Stage Measurement | ManualLevel | Manual Measurement (feet) |  | Double | PARAMETER
Stage Measurement | ManualMethod | Manual Measurement Method |  | Text | PARAMETER
Stage Measurement | ManualMethodComments | Manual Measurement Method Comments |  | Text | Other Method
Stage Measurement | MeasureDate | Measurement Date |  | Date | PARAMETER
Stage Measurement | MeasuringPointGlobalID | Related Measuring Point |  | Guid | NOT USED
Stage Measurement | OBJECTID |  |  | Object ID | NOT USED
Stage Measurement | SensorAdjusted | Sensor Adjusted |  | Text | Sensor Adjusted
Stage Measurement | SensorAdjustmentAmount | Sensor Adjustment Amount | Calculated Difference | Double | Calculated Difference
Stage Measurement | SensorAdjustmentComments | Sensor Adjustment Comments | Stage Sensor Adjustment Comments | Text | Stage Sensor Adjustment Comments | Omit "Stage" prefix
Stage Measurement | SensorAdjustmentDate | Sensor Adjustment Date |  | Date | Sensor Adjustment Timestamp | Verify "Date" vs "Timestamp" KEEP DATE
Stage Measurement | SensorAdjustmentException | Sensor Adjustment Exception | Stage Sensor Adjustment Exception | Text | Stage Sensor Adjustment Exception | Omit "Stage" prefix
Stage Measurement | SensorLevel | Realtime Sensor Level | Logger Stage | Double | Logger Stage
Stage Measurement | WaterLevel | Computed Manual Water Level | Calculated Manual Water Level | Double | Calculated Manual Water Level
Temperature Measurment | EditTimestamp |  |  | Date | NOT USED
Temperature Measurment | Employee |  |  | Text | NOT USED
Temperature Measurment | GlobalID |  |  | Global ID | NOT USED
Temperature Measurment | LocationVisitGlobalID | Related Location Visit |  | Guid | NOT USED
Temperature Measurment | ManualLevel | Manual Measurement |  | Double | PARAMETER
Temperature Measurment | MeasureDate | Measurement Date |  | Date | PARAMETER
Temperature Measurment | OBJECTID |  |  | Object ID | NOT USED
Temperature Measurment | ReadingType | Reading Type |  | Text | PARAMETER
Temperature Measurment | SensorFailed | Sensor Failed |  | Text | Temperature Sensor Failed | Omit "Temperature" prefix
Temperature Measurment | SensorLevel | Realtime Sensor Level | Logger Temperature | Double | Logger Temperature
Temperature Measurment | SensorSource | Sensor Source | Sensor Validated | Text | Sensor Validated
Temperature Measurment | SerialNumber | Serial Number |  | Text | PARAMETER
Temperature Measurment | SerialNumberComments | Serial Number Comments |  | Text | Serial Number Comments
Note on F119: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Has this changed? Reply: Looks like a formula