## ConductivityMeasurement
Target |  |  |  | Source
Field Name | Data Type | Length | Domain | Table | Column | Comments
MeasureDate | Date
ReadingType | Text | 32 | Reading Type
SerialNumber | Text | 32 | Conductivity Serial Number
ManualLevel | Long
SensorLevel | Long
SensorAdjustmentAmount | Long
SensorAdjusted | Text | 3 | Yes/No
SensorAdjustmentDate | Date
SensorAdjustmentException | Text | 32 | Conductivity Adjustment Exception
SensorAdjustmentComments | Text | 1024
CalibrationStandard | Long |  | Conductivity Standard
VerificationStandard | Long |  | Conductivity Standard
VerificationLevel | Long
VerificationDate | Date
LocationVisitGlobalID | Guid

## DataLogger
Target |  |  |  | Source
Field Name | Data Type | Length | Domain | Table | Column | Comments
Type | Text | 64 | Data Logger Type | District Monitoring.xlsx | Type of Recorder
SerialNumber | Text | 32 |  | District Monitoring.xlsx | Recorder Serial #
Comments | Text | 1024
LocationGlobalID | Guid

## GoundwaterMeasurement
Target |  |  |  | Source
Field Name | Data Type | Length | Domain | Table | Column | Comments
MeasureDate | Date
ReadingType | Text | 32 | Reading Type
ManualLevel | Double
WaterLevel | Double
SensorLevel | Double
SensorAdjustmentAmount | Double
SensorAdjusted | Text | 3 | Yes/No
SensorAdjustmentDate | Date
SensorAdjustmentException | Text | 32 | Groundwater Adjustment Exception
SensorAdjustmentComments | Text | 1024
LocationVisitGlobalID | Guid
MeasuringPointGlobalID | Guid

## Location
Target |  |  |  | Source
Field Name | Data Type | Length | Domain | Table | Column | Comments
Shape | Geometry |  |  | AQ_STATIONS.gdb\AQ_STATIONS | Shape | Join to District Monitoring on LocationIdentifier = Station_ID
NWFID | Text | 6 |  | District Monitoring.xlsx | Station ID | 6 digits, stored as text, with leading zeros
Name | Text | 128 |  | District Monitoring.xlsx | Station Name
Project | Long |  |  | District Monitoring.xlsx | Project Number
HasDataLogger | Text | 3 | Yes/No | District Monitoring.xlsx | Type of Recorder | Empty = 'No'; Not empty = 'Yes'
HasRainfall | Text | 3 | Yes/No | District Monitoring.xlsx | Monitoring_Type
HasStage | Text | 3 | Yes/No | District Monitoring.xlsx | Monitoring_Type | "D-Stage" is discontinued, map to 'No'
HasGroundwater | Text | 3 | Yes/No | District Monitoring.xlsx | Monitoring_Type
HasConductivity | Text | 3 | Yes/No | District Monitoring.xlsx | Monitoring_Type
HasADVM | Text | 3 | Yes/No | District Monitoring.xlsx | Monitoring_Type | "Vel.Ind"
HasADVMBattery | Text | 3 | Yes/No |  |  | District Monitoring spreadsheet needs new column
HasDischarge | Text | 3 | Yes/No | District Monitoring.xlsx | Monitoring_Type
HasTemperature | Text | 3 | Yes/No | District Monitoring.xlsx | Monitoring_Type
HasWaterQuality | Text | 3 | Yes/No | District Monitoring.xlsx | Monitoring_Type
Comments | Text | 1024

## LocationIssue
Target |  |  |  | Source
Field Name | Data Type | Length | Domain | Table | Column | Comments
Type | Text | 32 | Location Issue Type
Comments | Text | 1024
LocationVisitGlobalID | Guid

## LocationVisit
Target |  |  |  | Source
Field Name | Data Type | Length | Domain | Table | Column | Comments
VisitDate | Date
Staff | Text | 1024 | Hydro Staff
InventoryVerified | Text | 3 | Yes/No
BatteryDOA | Text | 3 | Yes/No
BatteryCondition | Text | 32 | Battery Condition
BatteryVoltage | Double
BatteryReplaced | Text | 3 | Yes/No
BatteryReplacementDate | Date
BatteryReplacementException | Text | 32 | Battery Replacement Exception
BatteryReplacementComments | Text | 1024
DessicantEnclosure | Text | 32 | Dessicant Maintenance
DessicantStage | Text | 32 | Dessicant Maintenance
DessicantGroundwater | Text | 32 | Dessicant Maintenance
DessicantComments | Text | 1024
DataLoggerRecordStart | Date
DataLoggerRecordEnd | Date
DataLoggerTimeAdjustmentType | Text | 32 | Time Adjustment Type
DataLoggerTimeAdjustmentAmount | Long
DataLoggerTimeAdjustmentDate | Date
RainfallBucketCleaned | Text | 3 | Yes/No
RainfallBucketException | Text | 32 | Rainfall Exception
RainfallBucketComments | Text | 1024
RainfallMechanismChecked | Text | 3 | Yes/No
RainfallMechanismException | Text | 32 | Rainfall Exception
RainfallMechanismComments | Text | 1024
ADVMBatteryDOA | Text | 3 | Yes/No
ADVMBatteryCondition | Text | 32 | Battery Condition
ADVMBatteryVoltage | Double
ADVMBatteryReplaced | Text | 3 | Yes/No
ADVMBatteryReplacementDate | Date
ADVMBatteryReplacementException | Text | 32 | Battery Replacement Exception
ADVMBatteryReplacementComments | Text | 1024
ADVMRecordStart | Date
ADVMRecordEnd | Date
ADVMBeamCheckedInitial | Text | 3 | Yes/No
ADVMBeamCheckInitialException | Text | 32 | ADVM Beam Check Initial Exception
ADVMBeamCheckInitialComments | Text | 1024
ADVMBeamCheckedSecondary | Text | 3 | Yes/No
ADVMBeamCheckSecondaryException | Text | 32 | ADVM Beam Check Secondary Exception
ADVMBeamCheckSecondaryComments | Text | 1024
ADVMCleaned | Text | 3 | Yes/No
ADVMCleanedException | Text | 32 | ADVM Cleaned Exception
ADVMCleanedComments | Text | 1024
ADVMMaintenance | Text | 32 | ADVM Maintenance
DischargeRecordStart | Date
DischargeRecordEnd | Date
DischargeStageStart | Date
DischargeStageEnd | Date
DischargeVolume | Double
DischargeUncertainty | Double
WaterQualitySensorPulled | Text | 3 | Yes/No
WaterQualitySensorPullDate | Date
WaterQualityPurgeStart | Date
WaterQualitySamplingEnd | Date
WaterQualitySensorReinstallDate | Date
LocationGlobalID | Guid

## MeasuringPoint
Target |  |  |  | Source
Field Name | Data Type | Length | Domain | Table | Column | Comments
Name | Text | 32 |  | Reference_Points.csv | Name
AquariusID | Guid |  |  | Reference_Points.csv | UniqueId
Description | Text | 1024 |  | Reference_Points.csv | Description
Elevation | Double |  |  | Reference_Points.csv | ReferencePointPeriods_0_Elevation | Source has a "Unit" column, but value always is / will be feet. On survey, add "ft" to displayed value.
IsActive | Text | 3 | Yes/No |  | "Yes" | Set all values to "Yes"; all Measuring Points in source that pass validation are implicitly active
Comments | Text | 1024
LocationGlobalID | Guid |  |  | Reference_Points.csv | Identifier | This is the NWFID of the corresponding Location
Only import rows from Reference Points spreadsheet where: ReferencePointPeriods_0_IsMeasuredAgainstLocalAssumedDatum = "FALSE" Name NOT IN ("NGVD29 0ft", "NAVD88 0ft")

## RainfallTips
Target |  |  |  | Source
Field Name | Data Type | Length | Domain | Table | Column | Comments
FalseTipCount | Double
FalseTipDate | Date
FalseTipRemoved | Text | 3 | Yes/No
LocationVisitGlobalID | Guid

## Sensor
Target |  |  |  | Source
Field Name | Data Type | Length | Domain | Table | Column | Comments
SensorType | Text | 32 | Sensor Type | District Monitoring.xlsx | Type of Sensor | Multiple sensors will be pipe delimited
Type of Tipping Bucket
SerialNumber | Text | 32 |  | District Monitoring.xlsx | Sensor Serial # | Multiple serial numbers will be pipe delimited, in same order as matching "Type of Sensor"
T.B. Serial #
Comments | Text | 1024
DataLoggerGlobalID | Guid

## StageMeasurement
Target |  |  |  | Source
Field Name | Data Type | Length | Domain | Table | Column | Comments
MeasureDate | Date
ManualLevel | Double
WaterLevel | Double
SensorLevel | Double
SensorAdjustmentAmount | Double
SensorAdjusted | Text | 3 | Yes/No
SensorAdjustmentDate | Date
SensorAdjustmentException | Text | 32 | Stage Adjustment Exception
SensorAdjustmentComments | Text | 1024
LocationVisitGlobalID | Guid
MeasuringPointGlobalID | Guid

## TemperatureMeasurement
Target |  |  |  | Source
Field Name | Data Type | Length | Domain | Table | Column | Comments
MeasureDate | Date
ReadingType | Text | 32 | Reading Type
SerialNumber | Text | 32 | Temperature Serial Number
ManualLevel | Double
SensorLevel | Double
SensorSource | Text | 32 | Temperature Source
SensorFailed | Text | 3 | Yes/No
LocationVisitGlobalID | Guid
LocationVisitGlobalID | Guid

## lists
Data types | Source tables | Domains
Date | District Monitoring.xlsx | ADVM Beam Check Initial Exception
Double | Reference_Points.csv | ADVM Beam Check Secondary Exception
Geometry | AQ_STATIONS.gdb\AQ_STATIONS | ADVM Cleaned Exception
Guid |  | ADVM Maintenance
Long |  | Battery Condition
Text |  | Battery Replacement Exception
Conductivity Adjustment Exception
Conductivity Serial Number
Conductivity Standard
Data Logger Type
Dessicant Maintenance
Groundwater Adjustment Exception
Hydro Staff
Location Issue Type
Rainfall Exception
Reading Type
Sensor Type
Stage Adjustment Exception
Temperature Serial Number
Temperature Source
Time Adjustment Type
Yes/No