## survey
type | name | label | hint | guidance_hint | appearance | required | required_message | readonly | default | calculation | constraint | constraint_message | relevant | choice_filter | repeat_count | media::audio | media::image | bind::type | bind::esri:fieldType | bind::esri:fieldLength | bind::esri:fieldAlias | body::esri:style | bind::esri:parameters | parameters | body::accept | body::esri:visible | body::esri:inputMask | label::language (de) | hint::language (xx) | guidance_hint::language (xx) | required_message::language (xx) | body::accuracyThreshold | bind::esri:warning | bind::esri:warning_message | bind::saveIncomplete
geopoint | Location_point | Location | [5 empty] | yes
text | NWFID | NWFID | [5 empty] | yes | [10 empty] | esriFieldTypeString | 6
text | Name | Name | [5 empty] | yes | [10 empty] | esriFieldTypeString | 128
integer | Project | Project Number | [5 empty] | yes | [10 empty] | esriFieldTypeInteger
text | FLUWID | FLUWID | [5 empty] | yes | [10 empty] | esriFieldTypeString | 16
text | Comments | Comments | [5 empty] | yes | [10 empty] | esriFieldTypeString | 1024
image | Location_image | Image | [5 empty] | yes | [14 empty] | max-size=100
select_one Yes/No | HasDataLogger | Has Data Logger |  |  | hidden |  |  | yes | [10 empty] | esriFieldTypeString | 3
text | HasDataLogger_GroupFilter | Has Data Logger | Used to filter the Battery, Logger Time, and Logger File groups |  | hidden |  |  |  |  | ${HasDataLogger} | [8 empty] | null
select_one Yes/No | HasSensor | Has Sensor |  |  | hidden |  |  | yes | [10 empty] | esriFieldTypeString | 3
select_one Yes/No | HasMeasuringPoint | Has Measuring Point |  |  | hidden |  |  | yes | [10 empty] | esriFieldTypeString | 3
select_one Yes/No | HasRainfall | Has Rainfall |  |  | hidden |  |  | yes | [10 empty] | esriFieldTypeString | 3
select_one Yes/No | HasStage | Has Stage |  |  | hidden |  |  | yes | [10 empty] | esriFieldTypeString | 3
select_one Yes/No | HasGroundwater | Has Groundwater |  |  | hidden |  |  | yes | [10 empty] | esriFieldTypeString | 3
select_one Yes/No | HasConductivity | Has Conductivity |  |  | hidden |  |  | yes | [10 empty] | esriFieldTypeString | 3
select_one Yes/No | HasADVM | Has ADVM |  |  | hidden |  |  | yes | [10 empty] | esriFieldTypeString | 3
select_one Yes/No | HasDischarge | Has Discharge |  |  | hidden |  |  | yes | [10 empty] | esriFieldTypeString | 3
select_one Yes/No | HasTemperature | Has Temperature |  |  | hidden |  |  | yes | [10 empty] | esriFieldTypeString | 3
select_one Yes/No | HasWaterQuality | Has Water Quality |  |  | hidden |  |  | yes | [10 empty] | esriFieldTypeString | 3
dateTime | VisitDate_null | Visit Date | ${VisitDate24} |  |  | yes | [12 empty] | null
text | VisitDate24 | Visit Date (24 hour) |  |  | hidden |  |  |  |  | if(string-length(${VisitDate})>0, concat('24-Hour Time Format — ',format-date(${VisitDate},'%H:%M')),'') | [8 empty] | null
select_multiple Hydro_Staff | StaffInput | Staff |  |  | minimal | [13 empty] | null
text | StaffComments_null | Please describe | [10 empty] | selected(${StaffInput},'Other') | [5 empty] | null
begin group | StationEquipment | Station Equipment | [10 empty] | ${HasDataLogger}='Yes'
select_one Yes/No | EquipmentNeedsUpdated | Changes to Equipment Needed |  |  | horizontal-compact | [13 empty] | null
note | NoteInventoryIncorrect | <font color="red">Navigate to the Issue & Comments Section and update the inventory</font> | [10 empty] | ${EquipmentNeedsUpdated}='Yes' | [5 empty] | null
begin repeat | DataLogger | Data Logger | [10 empty] | ${HasDataLogger}='Yes' | [9 empty] | query allowAdds=false
text | Type | Data Logger Type | [5 empty] | yes | [10 empty] | esriFieldTypeString | 64
text | SerialNumber | Serial Number | [5 empty] | yes | [10 empty] | esriFieldTypeString | 32
text | Comments | Comments | [5 empty] | yes | [10 empty] | esriFieldTypeString | 1024
decimal | LowVoltage | LowVoltage | Datalogger is considered low if voltage is less than this value |  | hidden |  |  | yes | [10 empty] | esriFieldTypeDouble
begin repeat | Sensor | Sensor | [10 empty] | ${HasSensor}='Yes' | [9 empty] | query allowAdds=false
text | Type | Sensor Type | [5 empty] | yes | [10 empty] | esriFieldTypeString | 32
text | SerialNumber | Serial Number | [5 empty] | yes | [10 empty] | esriFieldTypeString | 32
text | Comments | Comments | [5 empty] | yes | [10 empty] | esriFieldTypeString | 1024
end repeat |  | Sensor
note |  | Use the scroll to view additional sensors (if applicable) | [10 empty] | ${HasSensor}='Yes' | [5 empty] | null
end repeat |  | DataLogger
end group
begin repeat | MeasuringPoint | Measuring Point | [10 empty] | ${HasMeasuringPoint}='Yes' | [9 empty] | query="IsActive='Yes'" allowAdds=false
text | Name | Name | [5 empty] | yes | [10 empty] | esriFieldTypeString | 64
text | Description | Description | [5 empty] | yes | [10 empty] | esriFieldTypeString | 1024
decimal | Elevation | Elevation | [5 empty] | yes | [10 empty] | esriFieldTypeDouble
hidden | Comments | Comments | [5 empty] | yes | [10 empty] | esriFieldTypeString | 1024
image | MeasuringPoint_image | Image | [5 empty] | yes | [14 empty] | max-size=100
end repeat |  | MeasuringPoint
begin repeat | LocationVisit | Location Visit | [12 empty] | 1
dateTime | VisitDate | Visit Date |  |  | hidden |  |  |  |  | ${VisitDate_null} | [8 empty] | esriFieldTypeDate
text | StaffComments | Please describe |  |  | hidden |  |  |  |  | ${StaffComments_null} | [8 empty] | esriFieldTypeString | 1024
text | Staff | Staff Formatted |  |  | hidden |  |  |  |  | pulldata("@javascript", "functions.js", "replacefunction", ${StaffInput}) | [8 empty] | esriFieldTypeString | 1024
text | InventoryVerified | Equipment Inventory Verified |  |  | hidden |  |  |  |  | if(string-length(${EquipmentNeedsUpdated})>0, 'Yes','No') | [8 empty] | esriFieldTypeString | 3
begin repeat | LocationIssue | Issue & Comments |  |  | compact
select_one Location_Issue_Type | Type | What is the issue? |  |  | minimal | [13 empty] | esriFieldTypeString | 32
text | Comments | Record comment: |  |  | multiline | [13 empty] | esriFieldTypeString | 1024
image | LocationIssue_Photo | Attach photos | [20 empty] | max-size=100
end repeat
begin group | Battery_start | Battery |  |  | compact | [7 empty] | ${HasDataLogger_GroupFilter}='Yes'
select_one Yes/No | BatteryDOA | Is the Battery DOA? |  |  | horizontal-compact | [13 empty] | esriFieldTypeString | 3
select_one Yes/No | BatteryReplaced1 | Was the battery replaced? |  |  | horizontal-compact | [7 empty] | ${BatteryDOA}='Yes' | [5 empty] | null | 3
dateTime | BatteryReplacementDate1 | Battery Replacement Time | ${BatteryReplacementDate124} | [9 empty] | ${BatteryReplaced1}='Yes' | [5 empty] | null
text | BatteryReplacementDate124 | Battery Replacement Time (24 hour) |  |  | hidden |  |  |  |  | if(string-length(${BatteryReplacementDate1})>0, concat('24-Hour Time Format — ',format-date(${BatteryReplacementDate1},'%H:%M')),'') | [8 empty] | null
select_one Yes/No | BatteryNeedsReplacement | Battery Needs Replaced? |  |  | horizontal-compact | [7 empty] | ${BatteryDOA}='No' | [5 empty] | esriFieldTypeString | 3
text | BatteryVoltage2dec_Text | Battery Level | Enter to the nearest 2 decimal places. | [7 empty] | regex(., '^\d+\.\d{2}$') | Please make sure you have 2 decimal places. | (${BatteryDOA}='No' or ${BatteryReplaced1}='Yes') and ${LowVoltage}<20 | [5 empty] | null
decimal | BatteryVoltage2dec | Battery Level |  |  | hidden |  |  |  |  | number(${BatteryVoltage2dec_Text}) |  |  | (${BatteryDOA}='No' or ${BatteryReplaced1}='Yes') and ${LowVoltage}<20 | [5 empty] | null
integer | BatteryVoltage0dec | Battery Level | Enter a round number | [9 empty] | (${BatteryDOA}='No' or ${BatteryReplaced1}='Yes') and ${LowVoltage}>=20 | [5 empty] | null
hidden | BatteryVoltage | Battery Level | [7 empty] | concat(${BatteryVoltage2dec}, ${BatteryVoltage0dec}) |  |  | ${BatteryDOA}='No' or ${BatteryReplaced1}='Yes' | [5 empty] | esriFieldTypeDouble
note | NoteBatteryReplacement | <font color="red">The data logger battery will need to be replaced at the end of the site visit.</font> | [10 empty] | (${BatteryNeedsReplacement}='Yes' or (${BatteryVoltage}< ${LowVoltage} and string-length(${BatteryVoltage})>0)) and ${BatteryDOA}!='Yes' and ${LowVoltage}<20 | [5 empty] | null
note | NoteBatteryBehavior | <font color="red">The In-Situ Level Troll data logger battery has started to run low. If you noticed bad logger behavior please log this in the Location Issue section.</font> | [10 empty] | (${BatteryNeedsReplacement}='Yes' or (${BatteryVoltage}< ${LowVoltage} and string-length(${BatteryVoltage})>0)) and ${BatteryDOA}!='Yes' and ${LowVoltage}>=20 | [5 empty] | null
end group
begin group | LoggerTime_start | Logger Time |  |  | compact | [7 empty] | ${HasDataLogger_GroupFilter}='Yes'
note | NoteBatteryDOARequired | <font color="red">Complete the Battery section</font> | [10 empty] | string-length(${BatteryDOA})=0 | [5 empty] | null
note | NoteBatteryIsDOA | <font color="red">Battery is DOA - No Logger is Available</font> | [10 empty] | ${BatteryReplaced1}='No' | [5 empty] | null
dateTime | DataLoggerTime | Data logger time | ${DataLoggerTime24} | [9 empty] | (${BatteryDOA}='Yes' and ${BatteryReplaced1}='Yes') or ${BatteryDOA}='No' | [5 empty] | esriFieldTypeDate
text | DataLoggerTime24 | Data logger time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(${DataLoggerTime})>0, concat('24-Hour Time Format — ',format-date(${DataLoggerTime},'%H:%M')),'') | [8 empty] | null
dateTime | DataLoggerTimeActual | Laptop time | ${DataLoggerTimeActual24} | [9 empty] | (${BatteryDOA}='Yes' and ${BatteryReplaced1}='Yes') or ${BatteryDOA}='No' | [5 empty] | esriFieldTypeDate
text | DataLoggerTimeActual24 | Laptop time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(${DataLoggerTimeActual})>0, concat('24-Hour Time Format — ',format-date(${DataLoggerTimeActual},'%H:%M')),'') | [8 empty] | null
integer | DataLoggerTimeAdjAmount | Time Adjustment (minutes) | [5 empty] | yes |  | sqrt(pow((decimal-time(${DataLoggerTimeActual}) - decimal-time(${DataLoggerTime})) *24*60 , 2)) |  |  | (${BatteryDOA}='Yes' and ${BatteryReplaced1}='Yes') or ${BatteryDOA}='No' | [5 empty] | esriFieldTypeInteger
note | NoteDataLoggerTimeAdj | <font color="red">Please adjust the clock to match the laptop</font> | [10 empty] | ${DataLoggerTimeAdjAmount}>1 and string-length(${DataLoggerTimeAdjAmount})>0 | [5 empty] | null
select_one Yes/No | DataLoggerTimeAdjusted | Was the time adjusted? |  |  | horizontal-compact | [7 empty] | ${DataLoggerTimeAdjAmount}>1 and string-length(${DataLoggerTimeAdjAmount})>0 | [5 empty] | esriFieldTypeString | 3
select_one Time_Adjustment_Exception | DataLoggerTimeAdjException | Why wasn't the time adjusted? |  |  | minimal | [7 empty] | ${DataLoggerTimeAdjusted}='No' | [5 empty] | esriFieldTypeString | 32
text | DataLoggerTimeAdjComments | Please describe | [10 empty] | ${DataLoggerTimeAdjException}='Other' | [5 empty] | esriFieldTypeString | 1024
dateTime | DataLoggerTimeAdjDate | Data Logger Time Adjustment Date | ${DataLoggerTimeAdjDate24} | [9 empty] | ${DataLoggerTimeAdjusted}='Yes' | [5 empty] | esriFieldTypeDate
text | DataLoggerTimeAdjDate24 | Data Logger Time Adjustment Date (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(${DataLoggerTimeAdjDate})>0, concat('24-Hour Time Format — ',format-date(${DataLoggerTimeAdjDate},'%H:%M')),'') | [8 empty] | null
end group
begin group | Rainfall_start | Rainfall |  |  | compact | [7 empty] | ${HasRainfall}='Yes'
select_one Yes/No | RainfallBucketCleaned | Was the bucket and spout cleaned? |  |  | horizontal-compact | [13 empty] | esriFieldTypeString | 3
select_one Rainfall_Exception | RainfallBucketException | Reason Not Cleaned |  |  | minimal | [7 empty] | ${RainfallBucketCleaned}='No' | [5 empty] | esriFieldTypeString | 32
text | RainfallBucketComments | Please Describe | [10 empty] | ${RainfallBucketException}='Other' | [5 empty] | esriFieldTypeString | 1024
select_one Yes/No | RainfallMechanismChecked | Was the tipping mechanism checked? |  |  | horizontal-compact | [13 empty] | esriFieldTypeString | 3
select_one Rainfall_Exception | RainfallMechanismException | Reason Not Checked |  |  | autocomplete | [7 empty] | ${RainfallMechanismChecked}='No' | [5 empty] | esriFieldTypeString | 32
text | RainfallMechanismComments | Please Describe | [10 empty] | ${RainfallMechanismException}='Other' | [5 empty] | esriFieldTypeString | 1024
begin repeat | RainfallFalseTips | Rainfall False Tips | [10 empty] | ${RainfallMechanismChecked}='Yes'
text | FalseTipCount_Text | False Tip Count (inches) | Enter to the nearest 2 decimal places. | [7 empty] | regex(., '^[0-9]+\.\d{2}$') | Please make sure you have 2 decimal places. | [6 empty] | null
decimal | FalseTipCount | False Tip Count (inches) |  |  | hidden |  |  |  |  | number(${FalseTipCount_Text}) | [8 empty] | esriFieldTypeDouble
dateTime | FalseTipDate | False Tip Date | ${FalseTipDate24} | [15 empty] | esriFieldTypeDate
text | FalseTipDate24 | False Tip Date (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(${FalseTipDate})>0, concat('24-Hour Time Format — ',format-date(${FalseTipDate},'%H:%M')),'') | [8 empty] | null
select_one Yes/No | FalseTipRemoved | Were false tips removed from the data logger? |  |  | horizontal-compact | [13 empty] | esriFieldTypeString | 3
end repeat
end group
begin group | Groundwater_start | Groundwater |  |  | compact | [7 empty] | ${HasGroundwater}='Yes'
begin repeat | GroundwaterMeasurement | Groundwater
dateTime | MeasureDate | Measurement Time | ${GroundwaterMeasureDate24} | [15 empty] | esriFieldTypeDate
text | GroundwaterMeasureDate24 | Measurement Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/MeasureDate)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/MeasureDate,'%H:%M')),'') | [8 empty] | null
select_one Reading_Type | ReadingType | Type |  |  | minimal | [13 empty] | esriFieldTypeString | 32
select_one Groundwater_Method | ManualMethod | Method |  |  | minimal | [13 empty] | esriFieldTypeString | 32
note | NoteSteelTape | <font color='red'>More than one measurement is needed, record the best measurement below.</font> | [10 empty] | /NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/ManualMethod='Steel tape' | [5 empty] | null
text | ManualMethodComments | Please Describe | [10 empty] | /NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/ManualMethod='Other' | [5 empty] | esriFieldTypeString | 1024
select_one_from_file measuringpoint.csv | MeasuringPoint_Groundwater | Select MP | Navigate to the Measuring Point Section towards the top of the form to view details | [10 empty] | locationname=/NW_Florida_Hydrologic_Field_Form/Name |  |  |  |  | null
hidden | LocationMP_Groundwater | Location MP Name | Used to pull the correct MeasuringPointGlobalID | [6 empty] | /NW_Florida_Hydrologic_Field_Form/Name+" - "+${MeasuringPoint_Groundwater} | [8 empty] | null
hidden | MeasuringPointGlobalID | Related Measuring Point | [5 empty] | yes |  | pulldata('measuringpoint','locationglobalid','locationmpname',${LocationMP_Groundwater}) | [8 empty] | esriFieldTypeGUID
decimal | Elevation_Groundwater | MP Elevation | [5 empty] | yes |  | pulldata('measuringpoint','elevation','locationmpname',${LocationMP_Groundwater}) | [8 empty] | null
decimal | ManualLevelHeld | Held-at Level | [10 empty] | /NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/ManualMethod='Steel tape' | [5 empty] | esriFieldTypeDouble
decimal | ManualLevelWet | Wet-at Level | [10 empty] | /NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/ManualMethod='Steel tape' | [5 empty] | esriFieldTypeDouble
decimal | ManualLevel | Water Level from MP | If needed - click the refresh button to the right to reset calculation. | [6 empty] | if(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/ManualMethod='Steel tape', round(${ManualLevelWet}-${ManualLevelHeld},2), '') | [8 empty] | esriFieldTypeDouble
decimal | WaterLevel | Calculated Water Level | [5 empty] | yes |  | round(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/Elevation_Groundwater + /NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/ManualLevel,2) | [8 empty] | esriFieldTypeDouble |  |  |  | calculationMode=always
decimal | SensorLevel | Logger GWL | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | esriFieldTypeDouble
decimal | SensorAdjustmentAmount | Calculated Difference | [5 empty] | yes |  | round(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/WaterLevel - /NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/SensorLevel,2) |  |  | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | esriFieldTypeDouble |  |  |  | calculationMode=always
hidden | DifGroundwater | </b> | [7 empty] | if(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/SensorAdjustmentAmount>0.02, 'Yes',if(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/SensorAdjustmentAmount<-0.02,'Yes', 'No')) |  |  | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | null
note | NoteWaterLevel | <font color='red'>The difference between calculated water level and manual level is greater than 0.02. Please remeasure the groundwater or correct error. </font> | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifGroundwater}='Yes' | [5 empty] | null
select_one Yes/No | SensorAdjusted | Sensor Adjusted |  |  | horizontal-compact | [7 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifGroundwater}='Yes' | [5 empty] | esriFieldTypeString | 3
select_one Groundwater_Adjustment_Exception | SensorAdjustmentException | Reason Not Adjusted |  |  | minimal | [7 empty] | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/SensorAdjusted='No' | [5 empty] | esriFieldTypeString | 32
text | SensorAdjustmentComments | Please Describe | [10 empty] | /NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/SensorAdjustmentException='Other' | [5 empty] | esriFieldTypeString | 1024
dateTime | SensorAdjustmentDate | Record Adjustment Time | ${GroundwaterSensorAdjustmentDate24} | [9 empty] | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/SensorAdjusted='Yes' | [5 empty] | esriFieldTypeDate
text | GroundwaterSensorAdjustmentDate24 | Record Adjustment Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/SensorAdjustmentDate)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/GroundwaterMeasurement/SensorAdjustmentDate,'%H:%M')),'') | [8 empty] | null
end repeat
begin group | WaterQuality_start | Water Quality | [10 empty] | ${HasWaterQuality}='Yes'
select_one Yes/No | WaterQualitySensorPulled | Did you pull the sensor? |  |  | horizontal-compact | [7 empty] | ${HasWaterQuality}='Yes' | [5 empty] | esriFieldTypeString | 3
dateTime | WaterQualitySensorPullDate | Sensor Pulled Time | ${WaterQualitySensorPullDate24} | [9 empty] | ${HasWaterQuality}='Yes' and ${WaterQualitySensorPulled}='Yes' | [5 empty] | esriFieldTypeDate
text | WaterQualitySensorPullDate24 | Sensor Pulled Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/WaterQuality_start/WaterQualitySensorPulled)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/WaterQuality_start/WaterQualitySensorPulled,'%H:%M')),'') | [8 empty] | null
dateTime | WaterQualityPurgeStart | Purge Start Time | ${WaterQualityPurgeStart24} | [9 empty] | ${HasWaterQuality}='Yes' | [5 empty] | esriFieldTypeDate
text | WaterQualityPurgeStart24 | Sensor Pulled Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/WaterQuality_start/WaterQualityPurgeStart)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/WaterQuality_start/WaterQualityPurgeStart,'%H:%M')),'') | [8 empty] | null
dateTime | WaterQualitySamplingEnd | Sampling End Time | ${WaterQualitySamplingEnd24} | [9 empty] | ${HasWaterQuality}='Yes' | [5 empty] | esriFieldTypeDate
text | WaterQualitySamplingEnd24 | Sensor Pulled Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/WaterQuality_start/WaterQualitySamplingEnd)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/WaterQuality_start/WaterQualitySamplingEnd,'%H:%M')),'') | [8 empty] | null
dateTime | WaterQualitySensorReinstallDate | Reinstall Time | ${WaterQualitySensorReinstallDate24} | [9 empty] | ${HasWaterQuality}='Yes' and ${WaterQualitySensorPulled}='Yes' | [5 empty] | esriFieldTypeDate
text | WaterQualitySensorReinstallDate24 | Sensor Pulled Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/WaterQuality_start/WaterQualitySensorReinstallDate)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Groundwater_start/WaterQuality_start/WaterQualitySensorReinstallDate,'%H:%M')),'') | [8 empty] | null
select_multiple Done | NoteGroundwaterMeasurement | <font color="red">Please scroll up and retake the measurement</font> | [10 empty] | ${HasWaterQuality}='Yes' | [5 empty] | null
end group
end group
begin group | Stage_start | Stage |  |  | compact | [7 empty] | ${HasStage}='Yes'
begin repeat | StageMeasurement | Stage Measurement
dateTime | MeasureDate | Measurement Time | ${StageMeasureDate24} | [15 empty] | esriFieldTypeDate
text | StageMeasureDate24 | Measurement Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/MeasureDate)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/MeasureDate,'%H:%M')),'') | [8 empty] | null
select_one Stage_Method | ManualMethod | Method |  |  | minimal | [13 empty] | esriFieldTypeString | 32
text | ManualMethodComments | Please Describe | [10 empty] | /NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/ManualMethod='Other' | [5 empty] | esriFieldTypeString | 1024
select_one_from_file measuringpoint.csv | MeasuringPoint_Stage | Select MP | Navigate to the Measuring Point Section towards the top of the form to view details | [10 empty] | locationname=/NW_Florida_Hydrologic_Field_Form/Name |  |  |  |  | null
hidden | LocationMP_Stage | Location MP Name | Used to pull the correct MeasuringPointGlobalID | [6 empty] | /NW_Florida_Hydrologic_Field_Form/Name+" - "+${MeasuringPoint_Stage} | [8 empty] | null
hidden | MeasuringPointGlobalID | Related Measuring Point | [5 empty] | yes |  | pulldata('measuringpoint','locationglobalid','locationmpname',${LocationMP_Stage}) | [8 empty] | esriFieldTypeGUID
decimal | Elevation_stage | MP Elevation | [5 empty] | yes |  | pulldata('measuringpoint','elevation','locationmpname',${LocationMP_Stage}) | [8 empty] | null
decimal | ManualLevel | Water Level from MP | [16 empty] | esriFieldTypeDouble
decimal | WaterLevel | Calculated Water Level | [5 empty] | yes |  | round(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/Elevation_stage + /NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/ManualLevel,2) | [8 empty] | esriFieldTypeDouble
decimal | SensorLevel | Logger Stage | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | esriFieldTypeDouble
decimal | SensorAdjustmentAmount | Calculated Difference | [5 empty] | yes |  | round(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/WaterLevel - /NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/SensorLevel,2) |  |  | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | esriFieldTypeDouble
hidden | DifStage | </b> | [7 empty] | if(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/SensorAdjustmentAmount>0.02,'Yes', if(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/SensorAdjustmentAmount<-0.02, 'Yes', 'No')) |  |  | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | null
note | NoteWaterLevel | <font color='red'>The difference between calculated water level and manual level is greater than 0.02. Please remeasure the Stage or correct error. </font> | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifStage}='Yes' | [5 empty] | null
select_one Yes/No | SensorAdjusted | Sensor Adjusted |  |  | horizontal-compact | [7 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifStage}='Yes' | [5 empty] | esriFieldTypeString | 3
select_one Stage_Adjustment_Exception | SensorAdjustmentException | Reason Not Adjusted |  |  | minimal | [7 empty] | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/SensorAdjusted='No' | [5 empty] | esriFieldTypeString | 32
text | SensorAdjustmentComments | Please Describe | [10 empty] | /NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/SensorAdjustmentException='Other' | [5 empty] | esriFieldTypeString | 1024
dateTime | SensorAdjustmentDate | Adjust Sensor and Record Adjustment Time | ${StageSensorAdjustmentDate24} | [9 empty] | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/SensorAdjusted='Yes' | [5 empty] | esriFieldTypeDate
text | StageSensorAdjustmentDate24 | Adjust Sensor and Record Adjustment Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/SensorAdjustmentDate)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Stage_start/StageMeasurement/SensorAdjustmentDate,'%H:%M')),'') | [8 empty] | null
end repeat
end group
begin group | Conductivity_start | Specific Conductance |  |  | compact | [7 empty] | ${HasConductivity}='Yes'
begin repeat | ConductivityMeasurement | Specific Conductance
dateTime | MeasureDate | Measurement Time | ${ConductivityMeasureDate24} | [15 empty] | esriFieldTypeDate
text | ConductivityMeasureDate24 | Measurement Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/MeasureDate)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/MeasureDate,'%H:%M')),'') | [8 empty] | null
select_one Reading_Type | ReadingType | Reading Type |  |  | minimal | [13 empty] | esriFieldTypeString | 32
select_one Conductivity_Serial_Number | SerialNumber | Verification Equipment Serial Number |  |  | minimal | [13 empty] | esriFieldTypeString | 32
integer | ManualLevel | Specific Conductance Value (uS/cm) from Verification Equipment | [16 empty] | esriFieldTypeInteger
integer | SensorLevel | Logger Specific Conductance | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | esriFieldTypeInteger
integer | SensorAdjustmentAmount | Calculated Sensor Adjustment Amount |  |  | hidden |  |  |  |  | round(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/ManualLevel - /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorLevel,2) |  |  | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | esriFieldTypeInteger
integer | SensorAdjustmentAmount_1 | abs(Manual Level - Sensor Level) |  |  | hidden |  |  |  |  | if(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjustmentAmount<0, /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjustmentAmount*-1, /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjustmentAmount) |  |  | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | null
integer | SensorAdjustmentAmount_2 | % Difference between Verification and Logger | [5 empty] | yes |  | round(${SensorAdjustmentAmount_1} div /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/ManualLevel, 2)*100 |  |  | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | null
hidden | DifConductivity | </b> | [7 empty] | if(${SensorAdjustmentAmount_2}>10, 'Yes', if(${SensorAdjustmentAmount_2}<-10, 'Yes', 'No')) |  |  | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | null
note | NoteConductivityLevel | <font color='red'>The difference between manual level and sensor level is greater than 10%. Please remeasure the conductivity, correct the error, or record a reason.</font> | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifConductivity}='Yes' | [5 empty] | null
select_one Yes/No | FailedPreviously | Did this fail previously? |  |  | horizontal-compact | [7 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifConductivity}='Yes' | [5 empty] | null
select_one Yes/No | SensorAdjusted | Sensor Adjusted? |  |  | horizontal-compact | [7 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${FailedPreviously}='No' | [5 empty] | esriFieldTypeString | 3
select_one Conductivity_Standard | CalibrationStandard | Calibration Standard |  |  | minimal | [7 empty] | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjusted='Yes' | [5 empty] | esriFieldTypeInteger
dateTime | SensorAdjustmentDate | Adjustment Time | ${ConductivitySensorAdjustmentDate24} | [9 empty] | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjusted='Yes' | [5 empty] | esriFieldTypeDate
text | ConductivitySensorAdjustmentDate24 | Adjustment Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjustmentDate)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjustmentDate,'%H:%M')),'') | [8 empty] | null
select_one Conductivity_Standard | VerificationStandard | Verification Standard |  |  | minimal | [7 empty] | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjusted='Yes' | [5 empty] | esriFieldTypeInteger
integer | VerificationLevel | Verification Level | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjusted='Yes' | [5 empty] | esriFieldTypeInteger
dateTime | VerificationDate | Verification Date | ${VerificationDate24} | [9 empty] | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjusted='Yes' | [5 empty] | esriFieldTypeDate
text | VerificationDate24 | Verification Date (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/VerificationDate)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/VerificationDate,'%H:%M')),'') | [8 empty] | null
decimal | VerificationAdjustmentAmount_1 | Manual Level - Sensor Level |  |  | hidden |  |  |  |  | round(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/VerificationStandard - /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/VerificationLevel,2) |  |  | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjusted='Yes' | [5 empty] | null
decimal | VerificationAdjustmentAmount_2 | abs(Manual Level - Sensor Level) |  |  | hidden |  |  |  |  | if(${VerificationAdjustmentAmount_1}<0, ${VerificationAdjustmentAmount_1}*-1, ${VerificationAdjustmentAmount_1}) |  |  | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjusted='Yes' | [5 empty] | null
decimal | VerificationAdjustmentAmount | % Difference between Verification and Logger | [5 empty] | yes |  | round(${VerificationAdjustmentAmount_2} div /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/VerificationStandard, 2)*100 |  |  | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjusted='Yes' | [5 empty] | null
hidden | DifVerification | </b> | [7 empty] | if(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/VerificationAdjustmentAmount>5, 'Yes',if(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/VerificationAdjustmentAmount<-5,'Yes', 'No')) |  |  | ${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjusted='Yes' | [5 empty] | null
note | NoteVerificationLevelGreater | <font color='red'>The difference between the calculated verification standard and verification level is greater than 5%.</font> | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifVerification}='Yes' | [5 empty] | null
note | NoteVerificationLevelLess | <font color='red'>The difference between the calculated verification standard and verification level is less than 5%. Please remeasure the conductivity, correct the error.</font> | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifVerification}='No' | [5 empty] | null
select_one Conductivity_Adjustment_Exception | SensorAdjustmentException | Reason Not Adjusted |  |  | minimal |  |  |  |  | if(${FailedPreviously}='Yes', 'Sensor failed after calibration', '') |  |  | (${HasDataLogger_GroupFilter}='Yes' and /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjusted='No') or (${HasDataLogger_GroupFilter}='Yes' and ${FailedPreviously}='Yes') or ${DifVerification}='Yes' | [5 empty] | esriFieldTypeString | 32
text | SensorAdjustmentComments | Please Describe | [10 empty] | /NW_Florida_Hydrologic_Field_Form/LocationVisit/Conductivity_start/ConductivityMeasurement/SensorAdjustmentException='Other' | [5 empty] | esriFieldTypeString | 1024
end repeat
end group
begin group | ADVM_start | ADVM |  |  | compact | [7 empty] | ${HasADVM}='Yes'
begin group | ADVM | Download ADVM files
dateTime | ADVMRecordStart | Record Start Date/Time | ${ADVMRecordStart24} | [15 empty] | esriFieldTypeDate
text | ADVMRecordStart24 | Record Start Date/Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/ADVM_start/ADVM/ADVMRecordStart)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/ADVM_start/ADVM/ADVMRecordStart,'%H:%M')),'') | [8 empty] | null
dateTime | ADVMRecordEnd | Record End Date/Time | ${ADVMRecordEnd24} | [15 empty] | esriFieldTypeDate
text | ADVMRecordEnd24 | Record End Date/Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/ADVM_start/ADVM/ADVMRecordEnd)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/ADVM_start/ADVM/ADVMRecordEnd,'%H:%M')),'') | [8 empty] | null
file | ADVMTimeSeries | Attach ADVM files | Attach compressed file |  | multiline | [17 empty] | max-size=100 |  | .zip
select_one Yes/No | ADVMBeamCheckedInitial | Was the Initial Beam Checked? |  |  | horizontal-compact | [13 empty] | esriFieldTypeString | 3
select_one ADVM_Beam_Check_Initial_Exception | ADVMBeamCheckInitialException | Reason Not Checked |  |  | minimal | [7 empty] | ${ADVMBeamCheckedInitial}='No' | [5 empty] | esriFieldTypeString | 32
text | ADVMBeamCheckInitialComments | Please Describe | [10 empty] | ${ADVMBeamCheckInitialException}='Other' | [5 empty] | null
select_one Yes/No | ADVMCleaned | Was the Instrument Cleaned? |  |  | horizontal-compact | [13 empty] | esriFieldTypeString | 3
select_one ADVM_Cleaned_Exception | ADVMCleanedException | Reason Not Cleaned |  |  | minimal | [7 empty] | ${ADVMCleaned}='No' | [5 empty] | esriFieldTypeString | 32
text | ADVMCleanedComments | Please Describe | [10 empty] | ${ADVMCleanedException}='Other' | [5 empty] | esriFieldTypeString | 1024
note | NoteDebrisRemoval | <font color='red'>If there is debris blocking the ADVM please remove it at this time.</font> | [16 empty] | null
select_one Yes/No | ADVMBeamCheckedSecondary | Was the Post-Cleaning Beam Checked? |  |  | horizontal-compact | [13 empty] | esriFieldTypeString | 3
select_one ADVM_Beam_Check_Secondary_Exception | ADVMBeamCheckSecondaryException | Reason Not Checked |  |  | minimal | [7 empty] | ${ADVMBeamCheckedSecondary}='No' | [5 empty] | esriFieldTypeString | 32
text | ADVMBeamCheckSecondaryComments | Please Describe | [10 empty] | ${ADVMBeamCheckSecondaryException}='Other' | [5 empty] | esriFieldTypeString | 1024
select_one Yes/No | ADVMAdditionalMaintenance | Additional Maintenance |  |  | horizontal-compact | [13 empty] | null
select_one ADVM_Maintenance | ADVMMaintenance | Maintenance Type |  |  | minimal | [7 empty] | ${ADVMAdditionalMaintenance}='Yes' | [5 empty] | esriFieldTypeString | 32
text | ADVMMaintenanceComments | Please Describe | [10 empty] | ${ADVMMaintenance}='Other' | [5 empty] | esriFieldTypeString | 1024
end group
end group
begin group | Temperature_start | Temperature |  |  | compact | [7 empty] | ${HasTemperature}='Yes'
begin repeat | TemperatureMeasurement | Temperature
dateTime | MeasureDate | Measurement Time | ${TemperatureMeasureDate24} | [15 empty] | esriFieldTypeDate
text | TemperatureMeasureDate24 | Measurement Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Temperature_start/TemperatureMeasurement/MeasureDate)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Temperature_start/TemperatureMeasurement/MeasureDate,'%H:%M')),'') | [8 empty] | null
select_one Reading_Type | ReadingType | Reading Type |  |  | minimal | [13 empty] | esriFieldTypeString | 32
select_one Temperature_Serial_Number | SerialNumber | Verification Equipment Serial Number |  |  | minimal | [13 empty] | esriFieldTypeString | 32
text | SerialNumberComments | Please Describe | [10 empty] | /NW_Florida_Hydrologic_Field_Form/LocationVisit/Temperature_start/TemperatureMeasurement/SerialNumber='Other' | [5 empty] | null
text | ManualLevel_Text | Manual Temperature in Celsius | Enter to the nearest 1 decimal places. | [7 empty] | regex(., '^[0-9]+\.\d{1}$') | Please make sure you have 1 decimal places. | [6 empty] | null
decimal | ManualLevel | Manual Temperature in Celsius |  |  | hidden |  |  |  |  | number(${ManualLevel_Text}) | [8 empty] | esriFieldTypeDouble
select_one Temperature_Source | SensorSource | Sensor to Verify |  |  | horizontal-compact | [7 empty] | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | esriFieldTypeString | 32
text | SensorLevelInput_Text | Sensor Temperature | Enter to the nearest 1 decimal place. | [7 empty] | regex(., '^[0-9]+\.\d{1}$') | Please make sure you have 1 decimal places. | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | null
decimal | SensorLevelInput | Sensor Temperature |  |  | hidden |  |  |  |  | number(${SensorLevelInput_Text}) |  |  | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | null
select_one Temperature_Units | SensorLevelUnits | Sensor Units |  |  | horizontal-compact | [13 empty] | null
hidden | SensorLevel | Sensor Temperature in Celsius | [7 empty] | if(selected(${SensorLevelUnits},'Fahrenheit'), round(( /NW_Florida_Hydrologic_Field_Form/LocationVisit/Temperature_start/TemperatureMeasurement/SensorLevelInput - 32) * 0.55555,1), if(selected(${SensorLevelUnits},'Celsius'), /NW_Florida_Hydrologic_Field_Form/LocationVisit/Temperature_start/TemperatureMeasurement/SensorLevelInput, '')) | [8 empty] | esriFieldTypeDouble
decimal | SensorLevelCelsius | Calculated Sensor Temperature in Celsius | [5 empty] | yes |  | /NW_Florida_Hydrologic_Field_Form/LocationVisit/Temperature_start/TemperatureMeasurement/SensorLevel |  |  | ${SensorLevelUnits}='Fahrenheit' | [5 empty] | null
decimal | TemperatureDifferenceAmount | Calculated Difference in Temperature | [5 empty] | yes |  | round(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Temperature_start/TemperatureMeasurement/ManualLevel - /NW_Florida_Hydrologic_Field_Form/LocationVisit/Temperature_start/TemperatureMeasurement/SensorLevel, 2) |  |  | string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Temperature_start/TemperatureMeasurement/ManualLevel)>0 and string-length(${SensorLevelInput})>0 and string-length(${SensorLevelUnits})>0 | [5 empty] | null
hidden | DifTemperature | </b> | [7 empty] | if(selected(${SensorSource},'ADVM') and ${TemperatureDifferenceAmount}>2, 'Yes', if(selected(${SensorSource},'ADVM') and ${TemperatureDifferenceAmount}<-2, 'Yes', if(selected(${SensorSource},'Transducer') and ${TemperatureDifferenceAmount}>0.5, 'Yes', if(selected(${SensorSource},'Transducer') and ${TemperatureDifferenceAmount}<-0.5,'Yes','No')))) |  |  | ${HasDataLogger_GroupFilter}='Yes' | [5 empty] | null
note | NoteTemperatureLevelADVM | <font color='red'>The difference between manual level and sensor level is greater than 2°C.</font> | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifTemperature}='Yes' and ${SensorSource}='ADVM' and string-length(${SensorLevelInput})>0 and string-length(${SensorLevelUnits})>0 | [5 empty] | null
note | NoteTemperatureLevelOther | <font color='red'>The difference between manual level and sensor level is greater than 0.5°C.</font> | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifTemperature}='Yes' and ${SensorSource}='Transducer' and string-length(${SensorLevelInput})>0 and string-length(${SensorLevelUnits})>0 | [5 empty] | null
select_one Yes/No | InitialMeasurementCorrect | Was the initial measurement correct? |  |  | horizontal-compact | [7 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifTemperature}='Yes' | [5 empty] | null
note | NoteTemperatureRemeasure | <font color='red'>Please remeasure the temperature.</font> | [10 empty] | ${HasDataLogger_GroupFilter}='Yes' and ${DifTemperature}='Yes' and ${InitialMeasurementCorrect}='No' | [5 empty] | null
select_one Yes/No | SensorFailed | Record sensor failure: |  |  | horizontal-compact |  |  | yes |  | if(selected(${InitialMeasurementCorrect},'Yes'), 'Yes', '') |  |  | ${HasDataLogger_GroupFilter}='Yes' and ${DifTemperature}='Yes' and ${InitialMeasurementCorrect}='Yes' | [5 empty] | esriFieldTypeString | 3
end repeat
end group |  | Temperature
begin group | Discharge_start | Discharge |  |  | compact | [7 empty] | ${HasDischarge}='Yes'
select_multiple Done | NoteMinuteInterval | <font color='red'>Set Stage and ADVM to 1 Minute Interval</font> | [10 empty] | ${HasADVM}='Yes' | [5 empty] | null
select_multiple Done | NoteStageStart | <font color='red'>Collect your start Stage Discharge in the Stage Section</font> | [16 empty] | null
dateTime | DischargeRecordStart | Discharge Start Time | ${DischargeRecordStart24} | [15 empty] | esriFieldTypeDate
text | DischargeRecordStart24 | Discharge Start Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Discharge_start/DischargeRecordStart)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Discharge_start/DischargeRecordStart,'%H:%M')),'') | [8 empty] | null
dateTime | DischargeRecordEnd | Discharge End Time | ${DischargeRecordEnd24} | [15 empty] | esriFieldTypeDate
text | DischargeRecordEnd24 | Discharge End Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Discharge_start/DischargeRecordEnd)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Discharge_start/DischargeRecordEnd,'%H:%M')),'') | [8 empty] | null
decimal | DischargeVolume | Discharge Volume | [16 empty] | esriFieldTypeDouble
decimal | DischargeUncertainty | Discharge Uncertainty | [16 empty] | esriFieldTypeDouble
select_multiple Done | NoteStageEnd | <font color='red'>Collect your end Stage Discharge in the Stage Section</font> | [16 empty] | null
select_multiple Done | NoteOriginalInterval | <font color='red'>Reset Stage and ADVM to Original 15 Minute Interval</font> | [10 empty] | ${HasADVM}='Yes' | [5 empty] | null
image | DischargeTransectPhotos | Take Photos of Transect |  |  | multiline | [16 empty] | method=camera,browse | max-size=100
file | DischargeDataFiles | Attach Discharge Equipment Files |  |  | multiline | [17 empty] | max-size=100
dateTime | ADVMDischarge_RecordStart | ADVM Discharge Start Time | ${ADVMDischarge_RecordStart24} | [9 empty] | ${HasADVM}='Yes' | [5 empty] | esriFieldTypeDate
text | ADVMDischarge_RecordStart24 | ADVM Discharge Start Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Discharge_start/ADVMDischarge_RecordStart)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Discharge_start/ADVMDischarge_RecordStart,'%H:%M')),'') | [8 empty] | null
dateTime | ADVMDischarge_RecordEnd | ADVM Discharge End Time | ${ADVMDischarge_RecordEnd24} | [9 empty] | ${HasADVM}='Yes' | [5 empty] | esriFieldTypeDate
text | ADVMDischarge_RecordEnd24 | ADVM Discharge End Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Discharge_start/ADVMDischarge_RecordEnd)>0, concat('24-Hour Time Format — ',format-date(/NW_Florida_Hydrologic_Field_Form/LocationVisit/Discharge_start/ADVMDischarge_RecordEnd,'%H:%M')),'') | [8 empty] | null
file | ADVMDischargeDataFiles | Attach ADVM Discharge Files |  |  | multiline | [7 empty] | ${HasADVM}='Yes' | [9 empty] | max-size=100
end group |  | Discharge
begin group | LoggerFile_start | Logger File |  |  | compact | [7 empty] | ${HasDataLogger_GroupFilter}='Yes'
dateTime | DataLoggerRecordStart | Record Start | ${DataLoggerRecordStart24} | [15 empty] | esriFieldTypeDate
text | DataLoggerRecordStart24 | Record Start (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(${DataLoggerRecordStart})>0, concat('24-Hour Time Format — ',format-date(${DataLoggerRecordStart},'%H:%M')),'') | [8 empty] | null
dateTime | DataLoggerRecordEnd | Record End | ${DataLoggerRecordEnd24} | [15 empty] | esriFieldTypeDate
text | DataLoggerRecordEnd24 | Record End (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(${DataLoggerRecordEnd})>0, concat('24-Hour Time Format — ',format-date(${DataLoggerRecordEnd},'%H:%M')),'') | [8 empty] | null
file | DataLoggerTimeSeries | Attach DataLogger CSV or Text File |  |  | multiline | [17 empty] | max-size=100
note | NoteBatteryReplacement2 | <font color="red">The data logger battery needs to be replaced because of low voltage or poor condition.</font> | [10 empty] | (${BatteryNeedsReplacement}='Yes' or ${BatteryVoltage}< ${LowVoltage}) and ${BatteryDOA}!='Yes' and ${LowVoltage}<20 | [5 empty] | null
select_one Yes/No | BatteryReplaced2 | Was the battery replaced? |  |  | horizontal-compact | [7 empty] | (${BatteryNeedsReplacement}='Yes' or ${BatteryVoltage}< ${LowVoltage}) and ${BatteryDOA}!='Yes' and ${LowVoltage}<20 | [5 empty] | null
hidden | BatteryReplaced | Was the battery replaced? | This field combines Battery Replaced from the 1st and 2nd section | [6 empty] | concat(${BatteryReplaced1}, ${BatteryReplaced2}) | [8 empty] | esriFieldTypeString | 3
select_one Battery_Replacement_Exception | BatteryReplacementException | Why wasn't the battery replaced? |  |  | minimal | [7 empty] | ${BatteryReplaced1}='No' or ${BatteryReplaced2}='No' | [5 empty] | esriFieldTypeString | 32
text | BatteryReplacementComments | Please Describe | [10 empty] | ${BatteryReplacementException}='Other' | [5 empty] | esriFieldTypeString | 1024
dateTime | BatteryReplacementDate2 | Battery Replacement Time | ${BatteryReplacementDate224} | [9 empty] | ${BatteryReplaced2}='Yes' | [5 empty] | null
text | BatteryReplacementDate224 | Battery Replacement Time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(${BatteryReplacementDate2})>0, concat('24-Hour Time Format — ',format-date(${BatteryReplacementDate2},'%H:%M')),'') | [8 empty] | null
hidden | BatteryReplacementDate | Battery Replacement Time | This field combines Battery Replacement Date from the 1st and 2nd section | [6 empty] | concat(${BatteryReplacementDate1}, ${BatteryReplacementDate2}) | [8 empty] | esriFieldTypeDate
text | BatteryVoltage2_Text | Battery level | Enter to the nearest 2 decimal places. | [7 empty] | regex(., '^[0-9]+\.\d{2}$') | Please make sure you have 2 decimal places. | ${BatteryReplaced2}='Yes' | [5 empty] | null
decimal | BatteryVoltage2 | Battery level |  |  | hidden |  |  |  |  | number(${BatteryVoltage2_Text}) |  |  | ${BatteryReplaced2}='Yes' | [5 empty] | esriFieldTypeDouble
dateTime | DataLoggerTime2 | Data logger time | ${DataLoggerTime224} | [9 empty] | ${BatteryReplaced2}='Yes' | [5 empty] | esriFieldTypeDate
text | DataLoggerTime224 | Data logger time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(${DataLoggerTime2})>0, concat('24-Hour Time Format — ',format-date(${DataLoggerTime2},'%H:%M')),'') | [8 empty] | null
dateTime | DataLoggerTimeActual2 | Laptop time | ${DataLoggerTimeActual224} | [9 empty] | ${BatteryReplaced2}='Yes' | [5 empty] | esriFieldTypeDate
text | DataLoggerTimeActual224 | Laptop time (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(${DataLoggerTimeActual2})>0, concat('24-Hour Time Format — ',format-date(${DataLoggerTimeActual2},'%H:%M')),'') | [8 empty] | null
integer | DataLoggerTimeAdjAmount2 | Time Adjustment (minutes) | [5 empty] | yes |  | sqrt(pow((decimal-time(${DataLoggerTimeActual2}) - decimal-time(${DataLoggerTime2})) *24*60 , 2)) |  |  | ${BatteryReplaced2}='Yes' | [5 empty] | esriFieldTypeInteger
note | NoteDataLoggerTimeAdj2 | <font color="red">Please adjust the clock to match the laptop</font> | [10 empty] | ${DataLoggerTimeAdjAmount2}>1 and string-length(${DataLoggerTimeAdjAmount2})>0 | [5 empty] | null
select_one Yes/No | DataLoggerTimeAdjusted2 | Was the time adjusted? |  |  | horizontal-compact | [7 empty] | ${DataLoggerTimeAdjAmount2}>1 and string-length(${DataLoggerTimeAdjAmount2})>0 | [5 empty] | esriFieldTypeString
select_one Time_Adjustment_Exception | DataLoggerTimeAdjException2 | Why wasn't the time adjusted? |  |  | minimal | [7 empty] | ${DataLoggerTimeAdjusted2}='No' | [5 empty] | esriFieldTypeString
text | DataLoggerTimeAdjComments2 | Please describe | [10 empty] | ${DataLoggerTimeAdjException2}='Other' | [5 empty] | esriFieldTypeString
dateTime | DataLoggerTimeAdjDate2 | Data Logger Time Adjustment Date | ${DataLoggerTimeAdjDate224} | [9 empty] | ${DataLoggerTimeAdjusted2}='Yes' | [5 empty] | esriFieldTypeDate
text | DataLoggerTimeAdjDate224 | Data Logger Time Adjustment Date (24 Hour) |  |  | hidden |  |  | yes |  | if(string-length(${DataLoggerTimeAdjDate2})>0, concat('24-Hour Time Format — ',format-date(${DataLoggerTimeAdjDate2},'%H:%M')),'') | [8 empty] | null
select_one Desiccant_Maintenance | DesiccantEnclosure | Desiccant Enclosure Status |  |  | minimal | [13 empty] | esriFieldTypeString | 32
select_one Desiccant_Maintenance | DesiccantSensor | Desiccant Transducer Status |  |  | minimal | [13 empty] | esriFieldTypeString | 32
text | DesiccantComments | Please Describe | [10 empty] | ${DesiccantSensor}='Other' or ${DesiccantEnclosure}='Other' | [5 empty] | esriFieldTypeString | 1024
end group
end repeat |  | LocationVisit

## choices
list_name | name | label | media::image | media::audio | label::language (xx)
ADVM_Beam_Check_Initial_Exception | Other | Other
ADVM_Beam_Check_Secondary_Exception | Did not clean | Did not clean
ADVM_Beam_Check_Secondary_Exception | Other | Other
ADVM_Cleaned_Exception | No brush | No brush
ADVM_Cleaned_Exception | Unable to pull ADVM | Unable to pull ADVM
ADVM_Cleaned_Exception | Other | Other
ADVM_Maintenance | Debris removed | Debris removed
ADVM_Maintenance | Follow up - Maintenance | Follow up - Maintenance
ADVM_Maintenance | Follow up - Remove debris | Follow up - Remove debris
ADVM_Maintenance | Other | Other
Battery_Replacement_Exception | No materials | No materials
Battery_Replacement_Exception | Has solar panel | Has solar panel
Battery_Replacement_Exception | Other | Other
Conductivity_Adjustment_Exception | No standards | No standards
Conductivity_Adjustment_Exception | Sensor failed after calibration | Sensor failed after calibration
Conductivity_Adjustment_Exception | Unable to pull sensor | Unable to pull sensor
Conductivity_Adjustment_Exception | Other | Other
Conductivity_Serial_Number | 252529 | 252529
Conductivity_Serial_Number | 252531 | 252531
Conductivity_Standard | 100 | 100
Conductivity_Standard | 500 | 500
Conductivity_Standard | 1000 | 1000
Conductivity_Standard | 5000 | 5000
Desiccant_Maintenance | Verified | Verified
Desiccant_Maintenance | Replaced | Replaced
Desiccant_Maintenance | Needs replacement - No materials | Needs replacement - No materials
Desiccant_Maintenance | NA | NA
Desiccant_Maintenance | Other | Other
Groundwater_Adjustment_Exception | Before water quality sampling | Before water quality sampling
Groundwater_Adjustment_Exception | Cannot communicate with sensor | Cannot communicate with sensor
Groundwater_Adjustment_Exception | Low conductivity - No steel tape | Low conductivity - No steel tape
Groundwater_Adjustment_Exception | Safety | Safety
Groundwater_Adjustment_Exception | Weather | Weather
Groundwater_Adjustment_Exception | Other | Other
Groundwater_Method | Electric tape | Electric tape
Groundwater_Method | Steel tape | Steel tape
Groundwater_Method | Piezo tube | Piezo tube
Groundwater_Method | Other | Other
Hydro_Staff | Candice_Keeney | Candice Keeney
Hydro_Staff | David_Stanford | David Stanford
Hydro_Staff | Fred_Callaway | Fred Callaway
Hydro_Staff | Garrett_Ifland | Garrett Ifland
Hydro_Staff | Ian_Waters | Ian Waters
Hydro_Staff | Jacob_Kucala | Jacob Kucala
Hydro_Staff | Katie_Price | Katie Price
Hydro_Staff | Pete_Folland | Pete Folland
Hydro_Staff | Steve_Costa | Steve Costa
Hydro_Staff | Other | Other
Location_Issue_Type | Equipment - Data logger failure | Equipment - Data logger failure
Location_Issue_Type | Equipment - Device changed | Equipment - Device changed
Location_Issue_Type | Equipment - None installed | Equipment - None installed
Location_Issue_Type | Equipment - Solar panel issue | Equipment - Solar panel issue
Location_Issue_Type | Equipment - Transducer failure | Equipment - Transducer failure
Location_Issue_Type | Equipment - Unable to connect | Equipment - Unable to connect
Location_Issue_Type | Follow up - Conduit adjustment/repair | Follow up - Conduit adjustment/repair
Location_Issue_Type | Invalid data - Battery change | Invalid data - Battery change
Location_Issue_Type | Invalid data - In-Situ low battery | Invalid data - In-Situ low battery
Location_Issue_Type | Invalid data - Station maintenance | Invalid data - Station maintenance
Location_Issue_Type | MP - Inaccessible due to high water | MP - Inaccessible due to high water
Location_Issue_Type | MP - Missing (washed away, etc.) | MP - Missing (washed away, etc.)
Location_Issue_Type | MP - New | MP - New
Location_Issue_Type | MP - No water at MP | MP - No water at MP
Location_Issue_Type | Vandalism - Data logger | Vandalism - Data logger
Location_Issue_Type | Vandalism - Enclosure | Vandalism - Enclosure
Location_Issue_Type | Vandalism - Solar panel | Vandalism - Solar panel
Location_Issue_Type | Vandalism - Transducer | Vandalism - Transducer
Location_Issue_Type | Other | Other
Rainfall_Exception | Raining | Raining
Rainfall_Exception | No ladder | No ladder
Rainfall_Exception | Safety | Safety
Rainfall_Exception | Other | Other
Reading_Type | Routine | Routine
Reading_Type | Routine Before Sampling | Routine Before Sampling
Reading_Type | Routine After Sampling | Routine After Sampling
Reading_Type | After Calibration | After Calibration
Stage_Adjustment_Exception | Cannot communicate with sensor | Cannot communicate with sensor
Stage_Adjustment_Exception | No water at transducer | No water at transducer
Stage_Adjustment_Exception | Safety | Safety
Stage_Adjustment_Exception | Weather | Weather
Stage_Adjustment_Exception | Wind | Wind
Stage_Adjustment_Exception | Other | Other
Stage_Method | Staff | Staff
Stage_Method | Tape up/down | Tape up/down
Stage_Method | Wire weight | Wire weight
Stage_Method | Other | Other
Temperature_Serial_Number | 252529 | 252529
Temperature_Serial_Number | 252531 | 252531
Temperature_Serial_Number | 230514759 | 230514759
Temperature_Serial_Number | 230514768 | 230514768
Temperature_Serial_Number | 230514786 | 230514786
Temperature_Serial_Number | Transducer - NIST unavailable | Transducer - NIST unavailable
Temperature_Serial_Number | Other | Other
Temperature_Source | ADVM | ADVM
Temperature_Source | Transducer | Transducer
Temperature_Units | Celsius | Celsius
Temperature_Units | Fahrenheit | Fahrenheit
Time_Adjustment_Exception | Other | Other
Yes/No | Yes | Yes
Yes/No | No | No
Done | Done | Done

## settings
form_title | form_id | instance_name | submission_url | default_language | version | style | namespaces
Hydrologic Monitoring Field Collection | Location | "NWFID: " + ${NWFID} | https://geoservices.nwfwmd.state.fl.us/portal/sharing/rest/content/items/d8a690ddca904a938380911efb95f015 |  |  |  | esri="https://esri.com/xforms"

## Version
ArcGIS Survey123 XLSForm Template – Advanced
Template version: | 3.15
Revision date: | 2022-06-21
This Advanced template includes all XLSForm features supported in ArcGIS Survey123. Please refer to the Question types and Appearances sheets for field app and web app compatibility.

## Question types
Question type | Description | Field app | Web app
text | Free text response. | Yes | Yes
integer | Integer (i.e. whole number) input. | Yes | Yes
decimal | Decimal input. | Yes | Yes
date | Date input. | Yes | Yes
time | Time input. | Yes | Yes
dateTime | Date and time input. | Yes | Yes
select_one list_name | Multiple choice question; only one answer can be selected. Replace 'list_name' with the name of your choice list on the choices sheet. | Yes | Yes
select_multiple list_name | Multiple choice question; multiple answers can be selected. Replace 'list_name' with the name of your choice list on the choices sheet. | Yes | Yes
rank list_name | Ranking question; order a list of choices. Replace 'list_name' with the name of your choice list on the choices sheet. | Yes | Yes
range | Input for a given range of numbers. | Yes | No
note | Display a note on the form. Takes no input. | Yes | Yes
geopoint | Collect a point on a map. | Yes | Yes
geotrace | Collect a line on a map. | Yes | Yes
geoshape | Collect a polygon on a map. | Yes | Yes
image | Take a photo with the camera or upload an image file. | Yes | Yes
audio | Record an audio clip (or upload an audio file in the web app). | Yes | Yes
file | Upload a file. Use the body::accept column to restrict the file types that can be submitted. | Yes | Yes
barcode | Scan a barcode or a QR code. | Yes | No
begin group | Begin a group of questions. | Yes | Yes
end group | End a group of questions. | Yes | Yes
begin repeat | Begin a set of repeating questions. | Yes | Yes
end repeat | End a set of repeating questions. | Yes | Yes
calculate | Perform a calculation on values in the form. The calculate field will contain the outcome of the calculation. This is a hidden field, not visible on the form. | Yes | Yes
hidden | Create a field in the feature layer that will not be displayed on the form. Use the bind::esri:fieldType and bind::esri:fieldLength columns to specify the data schema for this field. | Yes | Yes
username | When signed in to an ArcGIS organization, this field is automatically populated with the account username. This is a hidden field, not visible on the form. | Yes | Yes
email | When signed in to an ArcGIS organization, this field is automatically populated with the account email address. This is a hidden field, not visible on the form. | Yes | Yes
start | Start date and time of the survey. This is a hidden field, not visible on the form. | Yes | Yes
end | End date and time of the survey. This is a hidden field, not visible on the form. | Yes | Yes
deviceid | UUID representing the specific device they survey was taken on. This is a hidden field, not visible on the form. | Yes | No

## Appearances
Appearance | Applies to | Description | Field app | Web app
minimal | select_one, select_multiple, barcode, begin repeat | Presents questions in a more space-efficient manner. | Yes | Yes
minimal compact | begin repeat | Group of questions is displayed both collapsed and hidden. | Yes | Yes
compact | select_one, select_multiple, begin group, begin repeat | For select_one and select_multiple, presents choices horizontally in a space-efficient manner. Alternatively, use 'compact-n' to specify the maximum number of columns (n) with compact appearance (e.g. compact-4). Groups and repeats will appear collapsed on start-up. | Yes | Yes
horizontal | select_one, select_multiple | Presents choices horizontally in columns of equal width. | Yes | Yes
horizontal-compact | select_one, select_multiple | Same as 'compact' for select_one and select_multiple questions. | Yes | Yes
image-map | select_one, select_multiple | Displays an SVG image with selectable regions. SVG file must be stored in the survey's media folder. | Yes | No
autocomplete | select_one | Presents choices in a drop-down menu, with text input to narrow down options. | Yes | Yes
likert | select_one | Presents choices as a Likert scale. | Yes | Yes
multiline | text, image, file | Presents a text question as a multiline text box. Allows multiple attachments for an image or file question. | Yes | Yes
predictivetext | text | Enables predictive text for mobile devices. | Yes | No
nopredictivetext | text | Disables predictive text for mobile devices. | Yes | No
year | date | Select only a year for the date. | Yes | Yes
month-year | date | Select a month and year only for the date. | Yes | Yes
week-number | date | Select a week number. | Yes | No
distress | integer | Displays a 10-point distress scale. | Yes | No
spinner | integer, decimal | Displays buttons to increase and decrease value. | Yes | No
numbers | integer, decimal | Displays a keypad widget. | Yes | No
calculator | integer, decimal | Displays a calculator widget. | Yes | No
thousands-sep | decimal | Displays answers with thousands separators. Applies to prepopulated answers only. | Yes | No
no-ticks | range | Displays the range slider without positions, minimum values, or maximum values. | Yes | No
draw | image | Allows user to open a blank canvas to sketch on using a set of drawing tools. | Yes | Yes
annotate | image | Allows user to add an image (from camera or file) or a snapshot of a map to a canvas and annotate it using a set of drawing tools. Map snapshot not supported in the Survey123 web app. | Yes | Yes
signature | image | Presents a UI for signature capture. The signature will be added to the feature as an image attachment. | Yes | Yes
new-rear | image | Limits the question to only taking a photo, using the rear-facing camera as the default. | Yes | No
new-front | image | Limits the question to only taking a photo, using the front-facing camera as the default. | Yes | No
hidden | All question types | Hides a question so that it is not displayed on the form. Any value stored in the question will be submitted. | Yes | Yes
field-list | begin group, begin repeat | Applies to groups and repeats, when style is set to 'pages'. Displays group of questions on a separate page. | Yes | Yes
table-list | begin group | Presents a set of select_one questions inside a group with a common choice list in a table format. | Yes | Yes
geocode | text | Search for and submit a geocoded address. | Yes | Yes
hide-input | geopoint | Collapses the coordinate entry section of the map in the Survey123 web app. | No | Yes
press-to-locate | geopoint, geotrace, geoshape | For geopoint questions, only sets the location after the user interacts with the question. For geotrace and geoshape, centers the user's location without capturing a point when first interacting with the question. | Yes | Yes
spike | image | Requires a Spike device and Spike app. Uses Spike integration to measure distance and location in a photo. | Yes | No
spike-full-measure | image | Requires a Spike device and Spike app. Uses Spike integration to measure distance, location, area and lengths in a photo. | Yes | No
spike-point-to-point | image | Requires a Spike device and Spike app. Uses Spike integration to measure distance between two photographed points. | Yes | No
Appearance | Applies to
The list below is used for data validation on the survey worksheet.
(blank)
hidden | audio
minimal | barcode
hidden | barcode
compact | begin group
field-list | begin group
table-list | begin group
hidden | begin group
minimal | begin repeat
minimal compact | begin repeat
compact | begin repeat
field-list | begin repeat
hidden | begin repeat
year | date
month-year | date
week-number | date
hidden | date
hidden | dateTime
spinner | decimal
numbers | decimal
calculator | decimal
thousands-sep | decimal
hidden | decimal
multiline | file
hidden | file
hide-input | geopoint
press-to-locate | geopoint
hidden | geopoint
press-to-locate | geoshape
hidden | geoshape
press-to-locate | geotrace
hidden | geotrace
multiline | image
draw | image
annotate | image
signature | image
new-rear | image
new-front | image
spike | image
spike-full-measure | image
spike-point-to-point | image
hidden | image
spinner | integer
numbers | integer
calculator | integer
distress | integer
hidden | integer
hidden | note
no-ticks | range
hidden | range
hidden | rank
minimal | select_multiple
compact | select_multiple
horizontal | select_multiple
horizontal-compact | select_multiple
image-map | select_multiple
hidden | select_multiple
autocomplete | select_one
minimal | select_one
compact | select_one
horizontal | select_one
horizontal-compact | select_one
likert | select_one
image-map | select_one
hidden | select_one
multiline | text
predictivetext | text
nopredictivetext | text
geocode | text
hidden | text
hidden | time

## Field types
Esri field types | Use the bind::esri:fieldType column to control the field type created in the feature layer. | Learn more
esriFieldTypeDate | Date
esriFieldTypeSingle | Single-precision floating point numbers
esriFieldTypeDouble | Double-precision floating point numbers
esriFieldTypeInteger | Whole numbers
esriFieldTypeSmallInteger | Small whole numbers (from -32,768 to 32,767)
esriFieldTypeString | A series of alphanumeric symbols
esriFieldTypePointZ | Adds Z axis support to geopoint question
esriFieldTypeGUID | Globally Unique Identifier
null | Question does not require a field in feature layer
Bind types | Use in the bind::type column to overwrite default field type during a survey. | Learn more
int | Single-precision floating point numbers
decimal | Double-precision floating point numbers
string | A series of alphanumeric symbols
time | Time value
dateTime | Date and time value
date | Date value

## Reference
Default values |  | Learn more
today() | Applies to date questions. Set the default to today's date, at local midday.
now() | Applies to time and dateTime questions. Set the default to the current date and time.
item1,item2,item3 | Use a comma separated list to set default values for select_multiple fields.
Cascading selects | Create additional attribute columns for your choice lists on the choices tab. | Learn more
choice_filter | Add an expression to the 'choice_filter' column to restrict subsequent choice lists using these attributes.
Formula operators | These operators can be used in columns that support expressions. | Learn more
Operator | Description | Example
+ | Addition | ${question_one} + 4
- | Subtraction | ${question_one} - 4
* | Multiplication | ${question_one} * 4
div | Division | ${question_one} div 4
= | Equal | ${price} = 9.80
!= | Not equal | ${price} != 9.80
< | Less than | ${price} < 9.80
<= | Less than or equal to | ${price} <= 9.80
> | Greater than | ${price} > 9.80
>= | Greater than or equal to | ${price} >= 9.80
or | Or | ${price} = 9.80 or ${price} = 9.70
and | And | ${price} > 9.00 and ${price} < 9.90
mod | Modulus (division remainder) | ${question_one} mod ${question_two}
HTML formatting | Use HTML formatting in labels, hints, and note questions. ¹Only supported in the Survey123 web app. | Learn more
Tag | Attribute | Example
a | href, style | <a href="https://www.esri.com/">Visit the Esri website</a>
img | src, width, height, border, alt, style | <img src="risk_matrix.png" width="500" height="600">
video¹ | autoplay, controls, height, loop, muted, poster, preload, width | <video width="320" height="240" controls> <source src="my_demo.mp4" type="video/mp4"> Your browser does not support the video tag. </video>
audio¹ | autoplay, controls, loop, muted, preload | <audio controls loop> <source src="bird_call.mp3" type="audio/mpeg"> <source src="bird_call.ogg" type="audio/ogg"> Your browser does not support the audio tag. </audio>
source¹ | media, src, type
span | style | <p>This is a <span style="color:red">high</span> priority task.</p>
table | width, height, cellpadding, cellspacing, border, style | <table style="width:100%"> <tr> <th>Team</th> <th>Score</th> </tr> <tr> <td>Team A</td> <td style="text-align:right">84</td> </tr> <tr> <td>Team B</td> <td style="text-align:right">77</td> </tr> </table>
tr | height, valign, align, style
td, th | height, width, valign, align, colspan, rowspan, nowrap, style
div | style, align | <div style="color:blue"> <p>Here is some blue text.</p> </div>
font | size, color, style | <font color="green" size="2">Here is some green text.</font>
figure | style | <figure> <img src="risk_matrix.png" style="width:100%"> <figcaption>Risk matrix for work safety assessment</figcaption> </figure>
figcaption | style
dd, dl, dt | style | <dl> <dt>High priority</dt> <dd>Risk score higher than 80</dd> <dt>Low priority</dt> <dd>Risk score lower than 40</dd> </dl>
h1, h2, h3, h4, h5, h6 | style | <h1>Important Heading</h1>
p | style | <p>This is the first paragraph.</p><p>This is the second paragraph.</p>
b, strong, i, em, u, ul, ol, li, tbody, br, hr |  | <p>This paragraph contains <b>bold</b> and <i>italic</i> text.</p>
abbr | title | The Esri <abbr title="User Conference">UC</abbr> is held in July each year.
sub | style | <p>This paragraph contains <sub>subscript</sub> text.</p>
sup | style | <p>This paragraph contains <sup>superscript</sup> text.</p>
Regular expressions |  | Learn more
Subexpression | Matches
^ | Matches beginning of line.
$ | Matches end of line.
. | Matches any single character except newline. Using m option allows it to match newline as well.
[...] | Matches any single character in brackets.
[^...] | Matches any single character not in brackets.
\A | Beginning of entire string.
\z | End of entire string.
\Z | End of entire string except allowable final line terminator.
re* | Matches 0 or more occurrences of preceding expression.
re+ | Matches 1 or more of the previous thing.
re? | Matches 0 or 1 occurrence of preceding expression.
re{ n} | Matches exactly n number of occurrences of preceding expression.
re{ n,} | Matches n or more occurrences of preceding expression.
re{ n, m} | Matches at least n and at most m occurrences of preceding expression.
a¦ b | Matches either a or b.
(re) | Groups regular expressions and remembers matched text.
(?: re) | Groups regular expressions without remembering matched text.
(?> re) | Matches independent pattern without backtracking.
\w | Matches word characters.
\W | Matches nonword characters.
\s | Matches whitespace. Equivalent to [\t\n\r\f].
\S | Matches nonwhitespace.
\d | Matches digits. Equivalent to [0-9].
\D | Matches nondigits.
\A | Matches beginning of string.
\Z | Matches end of string. If a newline exists, it matches just before newline.
\z | Matches end of string.
\G | Matches point where last match finished.
\n | Back-reference to capture group number "n"
\b | Matches word boundaries when outside brackets. Matches backspace (0x08) when inside brackets.
\B | Matches nonword boundaries.
\n, \t, etc. | Matches newlines, carriage returns, tabs, etc.
\Q | Escape (quote) all characters up to \E
\E | Ends quoting begun with \Q
Mathematical functions |  | Learn more
Operator | Function
pi() | Returns pi.
acos(value) | Returns the arc cosine of the value.
asin(value) | Returns the arc sine of the value.
atan(value) | Returns the arc tangent of the value.
cos(value) | Returns the cosine of the value as an angle in radians.
sin(value) | Returns the sine of the value as an angle in radians.
tan(value) | Returns the tangent of the value as an angle in radians.
exp(value) | Returns the natural exponent of the value.
exp10(value) | Returns ten to the power of the value.
log(value) | Returns the natural logarithm of the value.
log10(value) | Returns the base-ten logarithm of the value.
sqrt(value) | Returns the square root of the value.
min(value1,value2) | Returns the minimum value in the given range.
max(value1,value2) | Returns the maximum value in the given range.
random() | Returns a random value between 0 (inclusive) and 1 (exclusive).
atan2(value1,value2) | Returns the arc tangent of the quotient of the values.
round(value1,value2) | Returns the rounded value.
pow(value,power) | Returns the value to the power specified.
Special characters | The following characters cannot be used in the name of a question, or in the name of a choice list. | Learn more
Space
, | Comma
: | Colon
; | Semicolon
- | Hyphen
/ | Forward slash
$ | Dollar sign
. | Dot
( | Opening parenthesis
) | Closing parenthesis

## Reserved
Reserved keywords | The following database keywords cannot be used as the name of a question.
A
ABS
ABSENT
ACCESS
ACCORDING
ACCOUNT
ACTIVATE
ADA
ADD
ADMIN
ADVISE
AFTER
ALL
ALL_ROWS
ALLOCATE
ALLOW
ALTER
ANALYSE
ANALYZE
AND
ANY
ARCHIVE
ARCHIVELOG
ARE
AREA
ARRAY
ARRAY_AGG
ARRAY_MAX_CARDINALITY
AS
ASC
ASENSITIVE
ASSOCIATE
ASUTIME
ASYMMETRIC
AT
ATOMIC
ATTRIBUTES
AUDIT
AUTHENTICATED
AUTHORIZATION
AUTOEXTEND
AUTOMATIC
AUX
AUXILIARY
AVG
BACKUP
BASE64
BECOME
BEFORE
BEGIN
BEGIN_FRAME
BEGIN_PARTITION
BERNOULLI
BETWEEN
BFILE
BINARY
BIT_LENGTH
BITMAP
BLOB
BLOCK
BLOCKED
BODY
BOM
BOTH
BREADTH
BREAK
BROWSE
BUFFERPOOL
BULK
BY
C
CACHE
CACHE_INSTANCES
CALL
CANCEL
CAPTURE
CARDINALITY
CASCADE
CASCADED
CASE
CAST
CATALOG_NAME
CCSID
CEIL
CEILING
CFILE
CHAINED
CHANGE
CHAR
CHAR_CS
CHAR_LENGTH
CHARACTER
CHARACTER_LENGTH
CHARACTER_SET_CATALOG
CHARACTER_SET_NAME
CHARACTER_SET_SCHEMA
CHARACTERS
CHECK
CHECKPOINT
CHOOSE
CHUNK
CLASS_ORIGIN
CLEAR
CLOB
CLONE
CLOSE
CLOSE_CACHED_OPEN_CURSORS
CLUSTER
CLUSTERED
COALESCE
COBOL
COLLATE
COLLATION
COLLATION_CATALOG
COLLATION_NAME
COLLATION_SCHEMA
COLLECT
COLLECTION
COLLID
COLUMN
COLUMN_NAME
COLUMNS
COMMAND_FUNCTION
COMMAND_FUNCTION_CODE
COMMENT
COMMIT
COMMITTED
COMPATIBILITY
COMPILE
COMPLETE
COMPOSITE_LIMIT
COMPRESS
COMPUTE
CONCAT
CONCURRENTLY
CONDITION
CONDITION_NUMBER
CONNECT
CONNECT_TIME
CONNECTION
CONNECTION_NAME
CONSTRAINT
CONSTRAINT_CATALOG
CONSTRAINT_NAME
CONSTRAINT_SCHEMA
CONSTRAINTS
CONSTRUCTOR
CONTAINS
CONTAINSTABLE
CONTENT
CONTENTS
CONTINUE
CONTROL
CONTROLFILE
CONVERT
CORR
CORRESPONDING
COST
COUNT
COVAR_POP
COVAR_SAMP
CPU_PER_CALL
CPU_PER_SESSION
CREATE
CREATIONDATE
CREATOR
CROSS
CUBE
CUME_DIST
CURREN_USER
CURRENT
CURRENT_CATALOG
CURRENT_CONNECTION
CURRENT_DATE
CURRENT_DEFAULT_TRANSFORM_GROUP
CURRENT_LC_CTYPE
CURRENT_PATH
CURRENT_ROLE
CURRENT_ROW
CURRENT_SCHEMA
CURRENT_TIME
CURRENT_TIMESTAMP
CURRENT_TRANSFORM_GROUP_FOR_TYPE
CURRENT_USER
CURRENT_UTCDATE
CURRENT_UTCTIME
CURRENT_UTCTIMESTAMP
CURRVAL
CURSOR
CURSOR_NAME
CYCLE
DANGLING
DATA
DATABASE
DATAFILE
DATAFILES
DATALINK
DATAOBJNO
DATE
DATETIME_INTERVAL_CODE
DATETIME_INTERVAL_PRECISION
DAY
DAYS
DB
DBA
DBCC
DBHIGH
DBINFO
DBLOW
DBMAC
DEALLOCATE
DEBUG
DEC
DECIMAL
DECLARE
DEFAULT
DEFERRABLE
DEFERRED
DEFINED
DEGREE
DELETE
DENSE_RANK
DENY
DEPTH
DEREF
DERIVED
DESC
DESCRIBE
DESCRIPTOR
DETERMINISTIC
DIAGNOSTICS
DIRECTORY
DISABLE
DISALLOW
DISCONNECT
DISK
DISMOUNT
DISPATCH
DISTINCT
DISTRIBUTED
DLNEWCOPY
DLPREVIOUSCOPY
DLURLCOMPLETE
DLURLCOMPLETEONLY
DLURLCOMPLETEWRITE
DLURLPATH
DLURLPATHONLY
DLURLPATHWRITE
DLURLSCHEME
DLURLSERVER
DLVALUE
DML
DO
DOCUMENT
DOUBLE
DROP
DSSIZE
DUMP
DYNAMIC
DYNAMIC_FUNCTION
DYNAMIC_FUNCTION_CODE
EACH
EDITDATE
EDITOR
EDITPROC
ELEMENT
ELSE
ELSEIF
ELSIF
EMAXX
EMAXY
EMAXZ
EMINX
EMINY
EMINZ
EMPTY
ENABLE
ENCODING
ENCRYPTION
END
END_FRAME
END_PARTITION
END-EXEC
ENDING
ENFORCE
ENFORCED
ENTITY
ENTRY
EQUALS
ERASE
ERRLVL
ESCAPE
EVERY
EXCEPT
EXCEPTION
EXCEPTIONS
EXCHANGE
EXCLUDING
EXCLUSIVE
EXEC
EXECUTE
EXISTS
EXIT
EXP
EXPIRE
EXPLAIN
EXPRESSION
EXTENT
EXTENTS
EXTERNAL
EXTERNALLY
FAILED_LOGIN_ATTEMPTS
FALSE
FAST
FENCED
FETCH
FID
FIELDPROC
FILE
FILLFACTOR
FILTER
FINAL
FIRST
FIRST_ROWS
FIRST_VALUE
FLAG
FLAGGER
FLOAT
FLOB
FLOOR
FLUSH
FOR
FORCE
FOREIGN
FORTRAN
FOUND
FRAME_ROW
FREE
FREELIST
FREELISTS
FREETEXT
FREETEXTTABLE
FREEZE
FROM
FS
FULL
FUNCTION
FUSION
G
GENERAL
GENERATED
GET
GLOBAL
GLOBAL_NAME
GLOBALID
GLOBALLY
GO
GOTO
GRANT
GROUP
GROUPING
GROUPS
HANDLER
HASH
HASHKEYS
HAVING
HEADER
HEAP
HEX
HIERARCHY
HOLD
HOLDLOCK
HOUR
HOURS
ID
IDENTIFIED
IDENTITY
IDENTITY_INSERT
IDENTITYCOL
IDGENERATORS
IDLE_TIME
IF
IGNORE
ILIKE
IMMEDIATE
IMMEDIATELY
IMPLEMENTATION
IMPORT
IN
INCLUDING
INCLUSIVE
INCREMENT
IND_PARTITION
INDENT
INDEX
INDEXED
INDEXES
INDICATOR
INHERIT
INITIAL
INITIALLY
INITRANS
INNER
INOUT
INSENSITIVE
INSERT
INSTANCE
INSTANCES
INSTANTIABLE
INSTEAD
INT
INTEGER
INTEGRITY
INTERMEDIATE
INTERSECT
INTERSECTION
INTO
IS
ISNULL
ISOBID
ISOLATION
ISOLATION_LEVEL
ITERATE
JAR
JOIN
K
KEEP
KEY
KEY_MEMBER
KEY_TYPE
KILL
LABEL
LAG
LANGUAGE
LAST
LAST_VALUE
LATERAL
LAYER
LC_CTYPE
LEAD
LEADING
LEAVE
LEFT
LEN
LENGTH
LESS
LEVEL
LIBRARY
LIKE
LIKE_REGEX
LIMIT
LINENO
LINK
LIST
LN
LOAD
LOB
LOCAL
LOCALE
LOCALTIME
LOCALTIMESTAMP
LOCATOR
LOCATORS
LOCK
LOCKED
LOCKMAX
LOCKSIZE
LOG
LOGFILE
LOGGING
LOGICAL_READS_PER_CALL
LOGICAL_READS_PER_SESSION
LONG
LOOP
LOWER
M
MAINTAINED
MANAGE
MAP
MASTER
MATCHED
MATERIALIZED
MAX
MAX_CARDINALITY
MAX_MEASURE
MAXARCHLOGS
MAXDATAFILES
MAXEXTENTS
MAXINSTANCES
MAXLOGFILES
MAXLOGHISTORY
MAXLOGMEMBERS
MAXSIZE
MAXTRANS
MAXVALUE
MEMBER
MERGE
MESSAGE_LENGTH
MESSAGE_OCTET_LENGTH
MESSAGE_TEXT
METHOD
MICROSECOND
MICROSECONDS
MIN
MIN_MEASURE
MINEXTENTS
MINIMUM
MINUS
MINUTE
MINUTES
MINVALUE
MLS_LABEL_FORMAT
MLSLABEL
MOD
MODE
MODIFIES
MODIFY
MODULE
MONTH
MONTHS
MORE
MOUNT
MOVE
MTS_DISPATCHERS
MULTISET
MUMPS
NAMESPACE
NATIONAL
NATURAL
NCHAR
NCHAR_CS
NCLOB
NEEDED
NESTED
NESTING
NETWORK
NEW
NEXT
NEXTVAL
NFC
NFD
NFKC
NFKD
NIL
NO
NOARCHIVELOG
NOAUDIT
NOCACHE
NOCHECK
NOCOMPRESS
NOCYCLE
NOFORCE
NOLOGGING
NOMAXVALUE
NOMINVALUE
NONCLUSTERED
NONE
NOORDER
NOOVERRIDE
NOPARALLEL
NOREVERSE
NORMAL
NORMALIZE
NORMALIZED
NOSORT
NOT
NOTHING
NOTNULL
NOWAIT
NTH_VALUE
NTILE
NULL
NULLABLE
NULLIF
NULLS
NUMBER
NUMERIC
NUMOFPTS
NUMPARTS
NVARCHAR2
OBID
OBJECT
OBJECTID
OBJNO
OBJNO_REUSE
OCCURRENCES_REGEX
OCTET_LENGTH
OCTETS
OF
OFF
OFFLINE
OFFSET
OFFSETS
OID
OIDINDEX
OLD
ON
ONLINE
ONLY
OPCODE
OPEN
OPENDATASOURCE
OPENQUERY
OPENROWSET
OPENXML
OPTIMAL
OPTIMIZATION
OPTIMIZE
OPTIMIZER_GOAL
OPTION
OR
ORDER
ORDERING
ORDINALITY
ORGANIZATION
OSLABEL
OTHERS
OUT
OUTER
OUTPUT
OVER
OVERFLOW
OVERLAPS
OVERRIDING
OWN
P
PACKAGE
PAD
PADDED
PARALLEL
PARAMETER
PARAMETER_MODE
PARAMETER_NAME
PARAMETER_ORDINAL_POSITION
PARAMETER_SPECIFIC_CATALOG
PARAMETER_SPECIFIC_NAME
PARAMETER_SPECIFIC_SCHEMA
PART
PARTITION
PARTITIONED
PARTITIONING
PASCAL
PASSTHROUGH
PASSWORD
PASSWORD_GRACE_TIME
PASSWORD_LIFE_TIME
PASSWORD_LOCK_TIME
PASSWORD_REUSE_MAX
PASSWORD_REUSE_TIME
PASSWORD_VERIFY_FUNCTION
PATH
PCTFREE
PCTINCREASE
PCTTHRESHOLD
PCTUSED
PCTVERSION
PERCENT
PERCENT_RANK
PERCENTILE_CONT
PERCENTILE_DISC
PERIOD
PERMANENT
PERMISSION
PIECESIZE
PIVOT
PLACING
PLAN
PLI
PLSQL_DEBUG
POINTS
PORTION
POSITION_REGEX
POST_TRANSACTION
POWER
PRECEDES
PRECISION
PREPARE
PRESERVE
PREVVAL
PRIMARY
PRINT
PRIOR
PRIQTY
PRIVATE
PRIVATE_SGA
PRIVILEGE
PRIVILEGES
PROC
PROCEDURE
PROFILE
PROGRAM
PSID
PUBLIC
PURGE
QUERY
QUERYNO
QUEUE
QUOTA
RAISERROR
RANGE
RANK
RAW
RBA
READ
READS
READTEXT
READUP
REAL
REBUILD
RECONFIGURE
RECOVER
RECOVERABLE
RECOVERY
REF
REFERENCES
REFERENCING
REFRESH
REGR_AVGX
REGR_AVGY
REGR_COUNT
REGR_INTERCEPT
REGR_R2
REGR_SLOPE
REGR_SXX
REGR_SXY
REGR_SYY
RELEASE
RENAME
REPEAT
REPLACE
REPLICATION
REQUIRING
RESET
RESETLOGS
RESIGNAL
RESIZE
RESOURCE
RESPECT
RESTORE
RESTRICT
RESTRICTED
RESULT
RESULT_SET_LOCATOR
RETURN
RETURNED_CARDINALITY
RETURNED_LENGTH
RETURNED_OCTET_LENGTH
RETURNED_SQLSTATE
RETURNING
RETURNS
REUSE
REVERSE
REVERT
REVOKE
RIGHT
ROLE
ROLES
ROLLBACK
ROLLUP
ROUND_CEILING
ROUND_DOWN
ROUND_FLOOR
ROUND_HALF_DOWN
ROUND_HALF_EVEN
ROUND_HALF_UP
ROUND_UP
ROUTINE
ROUTINE_CATALOG
ROUTINE_NAME
ROUTINE_SCHEMA
ROW
ROW_COUNT
ROW_NUMBER
ROWCOUNT
ROWGUIDCOL
ROWID
ROWNUM
ROWS
ROWSET
RULE
RUN
SAMPLE
SAVE
SAVEPOINT
SB4
SCALE
SCAN_INSTANCES
SCHEMA
SCHEMA_NAME
SCN
SCOPE
SCOPE_CATALOG
SCOPE_NAME
SCOPE_SCHEMA
SCRATCHPAD
SD_ALL
SD_INHIBIT
SD_SHOW
SECOND
SECONDS
SECQTY
SECTION
SECURITY
SECURITYAUDIT
SEG_BLOCK
SEG_FILE
SEGMENT
SELECT
SELECTIVE
SELF
SEMANTICKEYPHRASETABLE
SEMANTICSIMILARITYDETAILSTABLE
SEMANTICSIMILARITYTABLE
SENSITIVE
SEQUENCE
SERIALIZABLE
SERVER_NAME
SESSION
SESSION_CACHED_CURSORS
SESSION_USER
SESSIONS_PER_USER
SET
SETS
SETUSER
SHAPE
SHARE
SHARED
SHARED_POOL
SHRINK
SHUTDOWN
SIGNAL
SIMILAR
SIMPLE
SIZE
SKIP
SKIP_UNUSABLE_INDEXES
SMALLINT
SNAPSHOT
SOME
SORT
SOURCE
SPACE
SPECIFIC
SPECIFIC_NAME
SPECIFICATION
SPECIFICTYPE
SPLIT
SQL
SQL_TRACE
SQLCODE
SQLERROR
SQLEXCEPTION
SQLSTATE
SQLWARNING
SQRT
STANDARD
STANDBY
START
STATE
STATEMENT
STATEMENT_ID
STATIC
STATISTICS
STAY
STDDEV_POP
STDDEV_SAMP
STOGROUP
STOP
STORAGE
STORE
STORES
STRUCTURE
STYLE
SUBCLASS_ORIGIN
SUBMULTISET
SUBSTRING_REGEX
SUCCEEDS
SUCCESSFUL
SUM
SUMMARY
SWITCH
SYMMETRIC
SYNONYM
SYS_OP_ENFORCE_NOT_NULL$
SYS_OP_NTCIMG$
SYSDATE
SYSDBA
SYSOPER
SYSTEM
SYSTEM_TIME
SYSTEM_USER
SYSTIME
SYSTIMESTAMP
SYSUUID
T
TABLE
TABLE_NAME
TABLES
TABLESAMPLE
TABLESPACE
TABLESPACE_NO
TABNO
TEMPORARY
TEXTSIZE
THAN
THE
THEN
THREAD
TIES
TIME
TIMESTAMP
TIMEZONE_HOUR
TIMEZONE_MINUTE
TO
TOKEN
TOP
TOP_LEVEL_COUNT
TOPLEVEL
TRACE
TRACING
TRAILING
TRAN
TRANSACTION
TRANSACTION_ACTIVE
TRANSACTIONS_COMMITTED
TRANSACTIONS_ROLLED_BACK
TRANSFORM
TRANSFORMS
TRANSITIONAL
TRANSLATE
TRANSLATE_REGEX
TRANSLATION
TRIGGER
TRIGGER_CATALOG
TRIGGER_NAME
TRIGGER_SCHEMA
TRIGGERS
TRIM_ARRAY
TRUE
TRUNCATE
TRY_CONVERT
TSEQUAL
TX
TYPE
UB2
UBA
UESCAPE
UID
UNARCHIVED
UNDER
UNDO
UNION
UNIQUE
UNLIMITED
UNLINK
UNLOCK
UNNAMED
UNNEST
UNPIVOT
UNRECOVERABLE
UNTIL
UNTYPED
UNUSABLE
UNUSED
UPDATABLE
UPDATE
UPDATETEXT
UPPER
URI
USAGE
USE
USER
USER_DEFINED_TYPE_CATALOG
USER_DEFINED_TYPE_CODE
USER_DEFINED_TYPE_NAME
USER_DEFINED_TYPE_SCHEMA
USING
UTCDATE
UTCTIME
UTCTIMESTAMP
VALIDATE
VALIDATION
VALIDPROC
VALUE
VALUE_OF
VALUES
VAR_POP
VAR_SAMP
VARBINARY
VARCHAR
VARCHAR2
VARIABLE
VARIADIC
VARIANT
VARYING
VCAT
VERBOSE
VERSIONING
VIEW
VOLATILE
VOLUMES
WAITFOR
WHEN
WHENEVER
WHERE
WHILE
WIDTH_BUCKET
WINDOW
WITH
WITHIN
WITHIN GROUP
WITHOUT
WLM
WORK
WRITE
WRITEDOWN
WRITETEXT
WRITEUP
XID
XMLAGG
XMLBINARY
XMLCAST
XMLCOMMENT
XMLDECLARATION
XMLDOCUMENT
XMLEXISTS
XMLITERATE
XMLNAMESPACES
XMLQUERY
XMLSCHEMA
XMLTABLE
XMLTEXT
XMLVALIDATE
YEAR
YEARS
ZONE