# Survey123/ Field Maps Beta Testing

# (January 10-16th)

# Field Maps (FM)

- Why are there 2 sections: Hydrologic Monitoring Field Collection (Field Maps) and Hydrologic Monitoring Field Collection (Survey123)?

- Is it possible to unsee Hydrologic Monitoring Field Collection (Survey123) so people don’t select the wrong one?

### ONLINE

  - LAPTOP: NOTE if you download an offline area, FM goes back to offline area even if online, have to go back to get to online area

    - Populated sites within 1 minute

    - Important that staff understand the “Acquiring location” will continue to flash regardless if online or offline- do not need to wait on it to stop

    - On laptop, takes about 3 minutes to populate selected survey form “Submit new field visit” in Survey123 via FM

### OFFLINE

  - Important to rename download FM area to something like “Use this when Offline.” It automatically names download Area 1, 2, 3, 3, etc based on how many times you have it downloaded.

  - The downloaded offline area takes about an hour to download

  - The offline area should be downloaded on the first day of each month to update all visit information from previous month’s data collection.

  - Unable to use FM to auto navigate to Survey123

    - When clicking “Submit New Field Visit” from FM, the device tries to logon to Enterprise when opening Survey123

  - FM can only be used to see site locations and previously downloaded visits.

### GENERAL NOTES

- No issues with navigation from FM to Survey123 on phone on or offline

# Survey123

### ONLINE

- No comments. Worked well on laptop and phone. Scrolling is harder on laptop with no scroll bar. Some computers  (Steve’s) much harder to use apps

### OFFLINE

  - DO NOT USE FM to get to survey offline.

  - Ignore Error Code 3 to return to survey when offline. Survey looking for internet connection.

  - If you turn off computer or restart it, opening Survey123 initially without internet can take a long while. It will load if you ignore error code 3 and you have previously refreshed your inbox with the station list

  - If you open a previously submitted survey to the Outbox,  all the values for Data Logger (Part 1) and Data Logger (Part 2) disappear, all other values are kept. I suspect this is due to the auto clock. Closing and not saving changes keeps the original survey with attachments etc-KP to add which fields erased and which cannot be updated – do we need a refresh calculation button? Need to test recalculation when not in Outbox

  - Why is Save as Draft not available in offline mode

  - When submitting survey offline to outbox, pop-up still says online (add screenshot)

  - Survey occasionally crashes after submitting survey to Outbox. The submitted survey appears to be saved. You can reopen the app and continue to next station as long as you disregard errors 0 and 3

### GENERAL NOTES

  - On initial screen what does EGDB stand for?

  - Only 1 survey per station per device can be submitted each day. The station disappears from the Inbox list when it has been sent (internet connection) or in Outbox (no internet connection) REFRESH online to get all new survey list for 2nd FV

  - Survey123/ FM uses a lot of battery. Killed Steve’s laptop that was at ~85% to start with. We were at the site for an estimated 45 minutes.

  - STOPPED HERE

### Inventory

  - Rename Inventory to StationEquipment

  - Remove MeasuringPoint  from Inventory.  Make it its own section, located directly before Groundwater or Stage sections

- Instead of Are inventory records correct? Y/N show DataLogger and Sensor tabs first, then add check box next to  Changes to equipment

    - if checked, show note to add Location Issue “Changes to Equipment”

### Location Visit

  - Move Location Visit section to top of survey, directly after FLUWID and site photos

### Issue

  - Rename Issues

  - Remove questions:

    - Is there an issue at the inspection?

    - Can you fix the issue?

  - Add to domain list

    - Unable to connect

    - No equipment installed

    - Changes to equipment

### Data Logger (Part 1)

- Instead of Data Logger (Part 1),  create 2 separate sections

    - Battery

    - Logger Time

  - Remove question:

    - Are you able to connect?

  - Under new section Logger Time, change Time Adjustment (minutes) allowable to 2 minutes instead of 1 min

  - For In-Situ, battery is a percentage. Survey asks for round number ( maybe whole number?) The Survey  would not take 52 only 50

## Rainfall

- No comments

### Groundwater

- Under Reading Type, remove from domain list

    - Extreme- Min

    - Extreme- Max

  - Remove question:

    - Data Logger Available to Measure Real-Time Level Y/N

  - For Test Station 003340, calculated WL had lot of extra zeros, this does not happen at all station

  - If within the 0.02ft threshold and Sensor Adjusted is No, do not show Reason Not Adjusted

### Stage

- Under Reading Type, remove from domain list

    - Extreme- Min

    - Extreme- Max

  - Remove question:

    - Data Logger Available to Measure Real-Time Level Y/N

- Remove question

    - Is this Stage used for a discharge?

- At a Stage/ Discharge station, if Yes is selected for Is this stage used for a discharge, the survey does not ask for a comparison to the logger value ever

  - If within the 0.02ft threshold and Sensor Adjusted is No, do not show Reason Not Adjusted

    - When Stage is used for a discharge, Sensor Adjusted Y/N and the timestamp for when it occurred disappears once you click on Calculated Difference, maybe this will go away if we remove the question Is this Stage used for a discharge?

## ADVM

- No comments

## Conductivity

- NOT FIELD TESTED YET

## Temperature

- Under Reading Type, remove from domain list

    - Extreme- Min

    - Extreme- Max

- Under Verification Equipment Serial Number add to domain list

    - Transducer- NIST unavailable

    - Other (add comment box to type in alternative SN)

  - Change Sensor Temperature Source  to Verification type  Leave the choices as is: ADVM, Transducer

## Discharge

- If not an ADVM station, remove notes

    - Set Stage and ADVM to 1 Minute Interval

    - Reset Stage and ADVM to Original 15 minute Interval

### Data Logger (Part 2)

- Rename Logger File

- Under Desiccant Enclosure Status add NA  to domain list

- Under Desiccant Transducer Status add NA  to domain list

## New Section Order

- Location Visit

- Station Equipment

- Issues

- Battery

- Logger Time

- MeasuringPoints

- Groundwater

- Stage

- Conductivity

- ADVM

- Temperature

- Discharge

- Logger File