## Sheet1
Hydro Staff | ADVM Beam Check Initial Exception | ADVM Beam Check Secondary Exception | ADVM Cleaned Exception | ADVM Maintenance | Battery Condition | Battery Replacement Exception | Desiccant Maintenance | Rainfall Exception | Data Logger Type | Sensor Type | Location Issue Type | Stage Adjustment Exception | Stage Method | Groundwater Adjustment Exception | Groundwater Method | Conductivity Adjustment Exception | Conductivity Serial Number | Conductivity Standard | Temperature Serial Number | Temperature Source | Reading Type
Candice Keeney | Other | Did not clean ADVM | No brush | Debris removed from beam prior to 2nd beam check | Good | No materials | Verified | Raining | High Sierra 3208 | In-Situ Aqua Troll 500 | Transducer failure | Cannot communicate with sensor | Staff | Before water quality sampling | Electric tape | No standards | 252529 | 100 | 252529 | ADVM | Routine
David Stanford |  | Other | Unable to pull up ADVM | Follow up visit to removed debris from beams | Poor | Has solar panel | Replaced | No ladder | In-Situ Level Troll 500 | In-Situ Level Troll 500 | Logger failure | Safety | Tape up/down | Cannot communicate with sensor | Steel tape | Sensor failed after inital calibration | 252531 | 500 | 252531 | Transducer | Routine Before Sampling
Fred Callaway |  |  |  | Follow up maintenance required |  | Other | Needs replacement - No materials | Safety | In-Situ Level Troll 700 | Keller Acculevel | In-Situ low battery- data issues | Weather | Wire weight | Low conductivity - no steel tape | Piezo tube | Unable to pull sensor |  | 1000 | 210910858 |  | Routine After Sampling
Garrett Ifland | [7 empty] | No access | In-Situ Rugged Baro Troll | KPSI 500 | Conduit needs adjustment/ repair | Wind | Other | Weather | Other | Other |  | 5000 | 210843093 |  | After Calibration
Ian Waters | [7 empty] | Other | In-Situ Rugged Troll 100 | Ott PLS | Updated inventory | No water at transducer |  | Safety |  |  |  |  | 210843076 |  | Extreme - Min
Jacob Kucala | [8 empty] | Keller CTD | Ott PLS-C | Invalid data due to battery change | Other |  | Other | [6 empty] | Extreme - Max
Katie Price | [8 empty] | Ott EcoLog1000 | SonTek SL 1500 | Invalid data due to station maintenance
Pete Folland | [8 empty] | Ott Orpheus Mini | Sutron RLR | Missing measuring point
Steve Costa | [8 empty] | Sontek Argonaut | Teledyne Channel Master | Cannot access MP due to high water
Other | [8 empty] | Sutron 7310 | WaterLog Encoder H-3311 | No low water MP
[9 empty] | Sutron 9210 | WaterLog Pulse Radar | Damaged solar panel
[9 empty] | Sutron CDMALink |  | Vandalism
[9 empty] | Sutron SatLink Lite3 |  | Other
Sutron SatLink3
Sutron XLink 100
Sutron XLink 500
WaterLog H500XL
WaterLog H522+
WaterLog Storm3

## ADVM Beam Check Initial Excepti
Alphabetize | Yes
Other comments
Original | Suggested | Comments
Other

## ADVM Beam Check Secondary Excep
Alphabetize | Yes
Other comments
Original | Suggested | Comments
Did not clean ADVM | Did not clean | Can user imply "ADVM" from context?
Other

## ADVM Cleaned Exception
Alphabetize | Yes
Other comments
Original | Suggested | Comments
No brush
Unable to pull up ADVM | Unable to pull | Can user imply "ADVM" from context?
| Other | Recommend including "Other" choice for all exceptions. Without it, if user encounters a novel situation 1) they will need to choose a different, incorrect value, and 2) per our Survey design, they won't be able to enter comments without an "Other" choice. Other is always at the end, so it shouldn't be in their way.

## ADVM Maintenance
Alphabetize | Recommend yes
Other comments
Original | Suggested | Comments
Debris removed from beam prior to 2nd beam check | Debris removed before 2nd beam check | Can we shorten to "Debris removed"?
Follow up visit to removed debris from beams | Follow up - Debris
Follow up maintenance required | Follow up - Maintenance

## Battery Condition
Alphabetize | Yes
Other comments
Original | Suggested | Comments
Good
Poor

## Battery Replacement Exception
Alphabetize | Recommend yes
Other comments
Original | Suggested | Comments
No materials
Has solar panel
Other

## Conductivity Adjustment Excepti
Alphabetize | Yes
Other comments | Current model has "Time" value. Do we still need that?
Original | Suggested | Comments
No standards
Sensor failed after inital calibration | Sensor failed
Unable to pull sensor
Other

## Conductivity Serial Number
Alphabetize | Yes
Other comments
Original | Suggested | Comments
252529
252531

## Conductivity Standard
Alphabetize | Yes
Other comments
Original | Suggested | Comments
100
500
1000
5000

## Data Logger Type
Alphabetize | Yes
Other comments
Original | Suggested | Comments
High Sierra 3208
In-Situ Level Troll 500
In-Situ Level Troll 700
In-Situ Rugged Baro Troll
In-Situ Rugged Troll 100
Keller CTD
Ott EcoLog1000
Ott Orpheus Mini
Sontek Argonaut
Sutron 7310
Sutron 9210
Sutron CDMALink
Sutron SatLink Lite3
Sutron SatLink3
Sutron XLink 100
Sutron XLink 500
WaterLog H500XL
WaterLog H522+
WaterLog Storm3

## Desiccant Maintenance
Alphabetize | No | Order is by most common value
Other comments
Original | Suggested | Comments
Verified
Replaced
Needs replacement - No materials
| Other | Recommend including "Other" choice for all exceptions. Without it, if user encounters a novel situation 1) they will need to choose a different, incorrect value, and 2) per our Survey design, they won't be able to enter comments without an "Other" choice. Other is always at the end, so it shouldn't be in their way.

## Groundwater Adjustment Exceptio
Alphabetize | Recommend yes
Other comments
Original | Suggested | Comments
Before water quality sampling
Cannot communicate with sensor
Low conductivity - no steel tape | Low conductivity - No steel tape | Captialized "No" per existing standard/pattern
Weather
Safety
Other

## Groundwater Method
Alphabetize | Recommend yes
Other comments
Original | Suggested | Comments
Electric tape
Steel tape
Piezo tube
Other

## Hydro Staff
Alphabetize | Yes
Other comments
Original | Suggested | Comments
Candice Keeney
David Stanford
Fred Callaway
Garrett Ifland
Ian Waters
Jacob Kucala
Katie Price
Pete Folland
Steve Costa
Other

## Location Issue Type
Alphabetize | Recommend yes
Other comments | 1. Recommend shorter values. "Suggested" column shows examples, but don't need to be used literally. 2. Recommend using naming patterns to categorize similar values (see "Invalid data" and "Measuring point" prefixes) 3. Standardize on "measuring point" or "MP". Existing NWFWMD GIS standards favor complete words to avoid ambiguity, including for GIS/IT staff who aren't domain specialists (e.g. not hydrologists). But, if "MP" is the term hydro staff use (essentially) exclusively, let's use it here.
Original | Suggested | Comments
Transducer failure
Logger failure
In-Situ low battery- data issues | Invalid data - In-Situ low battery | Is it reasonable to make this part of the "Invalid data" cateogry, like the suggestions below? If we choose the original, even the spacing around the dash.
Conduit needs adjustment/ repair | Conduit adjustment/repair | Also evened spacing around slash
Updated inventory |  | Does this mean the inventory was updated, or needs to be updated? Also, does "inventory" reference the physical equipment or the database records about that equipment?
Invalid data due to battery change | Invalid data - Battery change
Invalid data due to station maintenance | Invalid data - Station maintenance
Missing measuring point | Measuring point - Missing | How does this differ from "No low water MP"?
Cannot access MP due to high water | Measuring point - Inaccessible | Is high water implied, or are there other reasons a measuring point could be inaccessible?
No low water MP |  | How does this differ from "Missing measuring point"?
Damaged solar panel | Solar panel damage | Recommending leading with most salient words ("solar panel"). Alternatively, make a "Damage - <type>" category (e.g. Damage - Solar panel, Damage - Vandalism)
Vandalism
Other

## Rainfall Exception
Alphabetize | Recommend yes
Other comments | Existing model has this domain with these values, and is alphabetized
Original | Suggested | Comments
Raining
No ladder
Safety
No access
Other

## Reading Type
Alphabetize
Other comments | 1. Should this be alphabetized? 2. Are these values verbatim from Aquarius? If not, consider changing "Routine" to "Routine - <type>" to match "Extreme - <type>" pattern. 3. Existing domain has other values (e.g. "Cleaning before"). Is it correct that we should remove any existing values that are not in the list below?
Original | Suggested | Comments
Routine
Routine Before Sampling
Routine After Sampling
After Calibration
Extreme - Min
Extreme - Max

## Sensor Type
Alphabetize | Yes
Other comments
Original | Suggested | Comments
In-Situ Aqua Troll 500
In-Situ Level Troll 500
Keller Acculevel
KPSI 500
Ott PLS
Ott PLS-C
SonTek SL 1500
Sutron RLR
Teledyne Channel Master
WaterLog Encoder H-3311
WaterLog Pulse Radar

## Stage Adjustment Exception
Alphabetize | Recommend yes
Other comments
Original | Suggested | Comments
Cannot communicate with sensor
Safety
Weather
Wind
No water at transducer
Other

## Stage Method
Alphabetize | Yes
Other comments | Existing domanin has additional values. Is it correct that we should remove existing values that are not listed below?
Original | Suggested | Comments
Staff
Tape up/down
Wire weight
Other

## Temperature Serial Number
Alphabetize | Recommend yes
Other comments
Original | Suggested | Comments
252529
252531
210910858
210843093
210843076

## Temperature Source
Alphabetize | Yes
Other comments
Original | Suggested | Comments
ADVM
Transducer

## Time Adjustment Exception
Alphabetize
Other comments | Need to populate this domain
Original | Suggested | Comments

## YesNo
Alphabetize | No
Other comments
Original | Suggested | Comments
Yes
No